Certificate of Occupancy Form

(Form CO-1)

PROCEDURE

Upon completion of construction, and after the acceptance testing of all fire and life safety systems have been accomplished and all defects and deficiencies have been corrected a Certificate of Occupancy (Form CO-1)

must be completed.

Prior to occupying the structure the owner/tenant shall contact the Regional Structural Fire Management Office to schedule a fire and life safety pre-occupancy inspection. At the completion of the inspection a Certificate of Occupancy shall be completed and signed by a representative of the project general contractor, an approved park representative, and the Authority Having Jurisdiction (or his/her designee).

It is understood that the signature of the National Park Service representative in no way prejudices any claim against the contractor or its sub-contractor(s) for faulty material, poor workmanship, or failure to comply with the requirements of the Regional Structural Fire Management Officer, Contracting Officer, or local ordinances.

This review is based on the project scope of work, and the most current release of the following documents:

NFPA 101 (Life Safety Code)          NFPA 1 (Uniform Fire Code)          NPS RM-58 (Structural Fire Management)

IBC (International Building Code)

*All “no” responses are to be explained in the Notes section on page 3 of this form.

GENERAL FACILITY DATA

Building Number:		       	Park District:				FMSS Asset ID Number:

Building Occupant:

NPS:		Concessionaire:		Park Partner:		Other  (describe):

Building Tenant:

Tenant Name/Organization:					        Contact Phone Number:

General Contractor Business Name:

Phone No.:				Representatives Name:

Type of Project:

New Building:             Change of Occupancy:             Renovation:             Alteration:

Construction:

Type I                  Type II                  Type III                  Type IV                  Type V

Square Footage:                            Number of Floors:                 Basement:    Yes      No     Attic:    Yes      No

Occupancy Type (check all that apply):

Assembly:                  	Business:                  Storage:                  Hotel:                   Dormitory:

Lodging and Rooming House:                  One- and Two-Family Dwelling:                  Industrial:

Mercantile:                  Apartment:                  Educational:                  Day-Care:

Detention and Correction:

Special Features:   Parapet             Mezzanine             Stage             Catwalk             Courtyard

Fireplace             Emergency Generator             Fire Escape Stairs

Kitchen Hood Suppression System

FIRE PROTECTION

1. Fire Sprinkler System Installed:    Yes            No           N/A

2. Fire Detection and Notification System Installed (Commercial):    Yes            No           N/A

3. Smoke Alarms Installed (Residential):  Yes            No           N/A

4. Other Fire Suppression System Installed:

a. Kitchen Hood System:   Yes      No      N/A

b. Clean Agent:    Yes      No      N/A

(describe):

c. Other:    Yes      No      N/A

(describe):

d. Fire/Smoke Dampers:    Yes           No           N/A

e. Fire/Smoke Dampers:    Yes           No           N/A

5. Fire Detection and Notification System Installed:    Yes            No           N/A

6. NPS Acceptance Forms Provided and Completed:

a. Aboveground Piping Acceptance Test Form (Form AS-5):    Yes           No           N/A

b. Underground Piping Acceptance Test Form (Form AS-4):    Yes           No           N/A

c. Backflow Prevention Assembly Test Form (BF-1):    Yes           No           N/A

d. Fire Alarm Record of Completion and Acceptance Form (FA-2):    Yes            No

7. Fire Alarm/Suppression System Monitored by a Listed Monitoring Center:    Yes            No           N/A

LIFE SAFETY

1. Illuminated Exit Signs Installed:    Yes            No           N/A

2. Illuminated Exit Signs Working at Time of Inspection:

a. Normal Mode:    Yes            No

b. Emergency Mode:    Yes            No

3. Emergency Lighting Installed:    Yes            No           N/A

4. Emergency Lighting Work at Time of Inspection:

a. Normal Mode:    Yes            No

b. Emergency Mode:    Yes            No

5. Elevator Installed:    Yes            No           N/A

a. Phase I and II Elevator Recall Working at Time of Inspection:    Yes            No

b. Elevator Certificate Completed and Provided:    Yes            No

6. Door Self-closing Devices Working at Time of Inspections:    Yes            No           N/A

7. Adequate Exits from all Floors:    Yes            No

8. Means of Egress Properly Enclosed/Protected:    Yes            No           N/A

9. Proper Fire Walls/Barriers:    Yes            No           N/A

10. Penetration in Fire Rated Construction/Smoke Barrier Properly Sealed:    Yes            No           N/A

LIFE SAFETY (cont’d)

11. Fire/Smoke Dampers Working at Time of Inspection:    Yes            No           N/A

12. Fire Extinguishers Present:    Yes            No           N/A

a. Fire Extinguishers Mounted Properly and have Certification Tag Affixed:    Yes            No

13. Extension Cords Being Used for Permanent Source of Power:   Yes            No

FACILITY OPERATIONS

1. Signed and Current Emergency Operations Plan in Place:    Yes            No

2. Fire Suppression System Inspection, Testing and Maintenance Program Implemented:    Yes      No      N/A

3. Fire Alarm and Notification Inspection, Testing and Maintenance Program Implemented:    Yes      No      N/A

4. Fire Extinguisher Inspection, Testing and Maintenance Program Implemented:    Yes      No      N/A

5. Illuminated Exit Sign Inspection and Testing Program Implemented:    Yes      No      N/A

6. Emergency Lighting Inspection and Testing Program Implemented:    Yes      No      N/A

7. Periodic Fire Drill Program Implemented:    Yes      No      N/A

8. All Circuit Breakers in Electrical Panels Clearly Labeled/Identified:    Yes            No

9. Provided thirty six (36) inch Clearance Around all Electrical Panels:    Yes            No

10. Occupancy Load Signs Posted:    Yes            No           N/A

NOTES

DETERMINATION

Occupancy Approved:      *                              Occupancy in Part:      *                     Occupancy Denied	 *

* Explain in comment section below

• Occupancy Approved – These are buildings or structures that are issued a Certificate of Occupancy because they are complete and in compliance with the codes and ordinances for which the occupancy has been applied. These Buildings or structures, or portions thereof, may or may not have a specific tenant. A Certificate of Occupancy may be issued for the applied-for occupancy. Additional signage and tenant improvement requirements may be under separate permits and separate Certificates of Occupancy.

• Occupancy in Part – These are buildings or structures with complete life/safety systems that have a portion of their area completed and are in compliance with all applicable codes and ordinances. Site and off-site requirements must be constructed, installed, and accepted for the portion being granted a Certificate of Occupancy. This would include fire department access, parking, and accessibility to the proposed use.

• Occupancy Denied - These are buildings or structures or portions thereof with incomplete life/safety and accessibility systems. These types of structures or buildings may entail utility stub-ups, dirt floors, an absence of restrooms, partial or incomplete fire suppression systems and/or smoke control systems. These are roofed structures that may not be occupied. No Certificate of Occupancy can be issued for this application.

SIGNATURES

Contracting Officer (or designee):				     				Date:

Signature:

Authority Having Jurisdiction (or designee):

Name: 							     				Date:

Signature: