## Template
CLOSEOUT AND OPERATION & MAINTENANCE REQUIREMENTS
Topic | Specification Section | Requirement | Submittal Date | Completed | Received by Park
Project Record Drawings
System Demonstration and Training
Tools Spare Parts Equipment
Extra Stock
Reports
Keys and keying schedule
Environmental Record Documents
O&M Data Warranties Guarantees

## Sample
CLOSEOUT AND OPERATION & MAINTENANCE REQUIREMENTS
Topic | Specification Section | Requirement | Submittal Date | Completed | Received by Park
Project Record Drawings | 17700 | Final Project Record Drawings
System Demonstration and Training | 235900 | Mechanical Equipment Control System DDC training
| 216720 | Fire Alarm system demonstration
| 270010 | Telecommunications system training
Tools Spare Parts Equipment | 332515 | 2- curb stop wrenches with T handles 7' in length
| 332512 | 1- 6" gate valve (type used on water main)
| 222531 | 1-10hp grinder pump (type and configuration as specd)
Extra Stock | 98700 | 2 gallons of wall paint (forest green)
1 gallon of trim paint (battleship grey)
| 108000 | 12 ea of wall and floor tiles used in the restrooms
Reports | 75400 | EIP and PVC Thermoplastic roofing Manufacturer's inspection report.
| 75320 | Renovation of CSPE Membrane Roofing, Manufacturer's inspection report.
| 235680 | HVAC Test and balance report
Keys and keying schedule | 98710 | Instructions for cylindrical lock sets, door closers, and panic exit devices.
| 287110 | Instructions for card key lock system and software
| 98710 | keying schedule
Environmental Record Documents | 17419 | Final Summary of solid waste disposal and diversion
| 15719.11 | Moisture control inspections and reports
| 19114 | Commissioning report
O&M Data Warranties Guarantees | 2512 | gate valves, O&M data for gate and post indicator valves
| 2515 | O&M data for Water meter
| 2517 | O&M data for Fire Hydrants
| 7511 | Built-Up Asphalt roofing, 5 yr guarantee
| 7620 | Flashing and sheet metal, 5 yr guarantee
| 7810 | Tubular Skylights, 10 yr Mfg. gurantee
| 8211 | Flush wood doors, Mfr. 2 yr guarantee
| 9680 | Kowski carpet, 5 yr warranty
| 15480 | O&M data for Propane water heater
| 15733 | Air cooled AC units, Mfr. 5 yr guarantee on compressor
and 2 year warranty on refrigerant loss.
SAMPLE