Statement of Structural Tests and Special Inspections

Denver Service Center

National Park Service

Park:

PMIS:

Project Name:

Structural Engineering Firm:

This Statement of Structural Tests and Special Inspections (STSI) is being submitted as required by Chapter 17 of the 2009 International Building Code (IBC-09).  It includes the following:

- Seismic requirements

- Wind requirements

- Qualification requirements for Inspectors and Testing Technicians

- Listing of Required Structural Tests and Special Inspections

The Construction Contractor’s Quality Control Supervisor will provide copies of all special inspection reports and associated documentation to the Contracting Officer.  The Construction Contractor will be required to correct all deficiencies discovered in the Special Inspection and Structural Testing program.

Prepared by:

______________________________________

(Type or print name)

______________________________________________________

Signature                                                                                  Date                                                  PE or SE Stamp

Seismic and Wind Requirements

Seismic Requirements, IBC-09 Section 1705.3

Description of seismic-force-resisting system and designated seismic systems subject to special inspections per Section 1707:

Wind Requirements, IBC-09 Section 1705.4

Description of wind-force-resisting system and designated wind systems subject to special inspections per Section 1706:

Instructions:

- Place an “X” in the column titled “Required?” for all Special Inspections and Tests required for this project.

- In the column marked “Required Qualifications” provide the qualifications for the special inspector, using the list beginning on page 4, for all required Structural Tests and Special Inspections.

- For those items listed as “Continuous,” continuous special inspection shall be as defined in Section 1702, IBC-09.

- For those items listed as “Periodic” provide the minimum number of tests, i.e. 20% of all field welds, or the amount of work to be inspected (e.g. 10% of all wall surfaces).

- Attach completed STSI to the end of the Specification Section 01 40 00, Quality Requirements.

Qualification Requirements for Inspectors and Testing Technicians

PE/SE	Structural Engineer – licensed PE or SE specializing in the design of buildings and structures

PE/GE	Geotechnical Engineer – licensed PE specializing in soil mechanics and foundations

EIT	Engineer-In-Training – graduate engineer who has passed the Fundamentals of engineering examination

American Concrete Institute (ACI) Certification

ACI-CCSI	Concrete Construction Special Inspector

ACI-LTT	Concrete Laboratory Testing Technician Level 1 or 2

ACI-STT	Concrete Strength Testing Technician

ACI-FTT	Concrete Field Testing Technician – Grade I

American Society of Non-Destructive Testing (ASNT) Certification

Non-Destructive Testing Technician – Level II or III

American Welding Society (AWS) Certification

AWS-CWI	Certified Welding Inspector

Exterior Design Institute (EDI) Certification

EDI-EIFS	Certified EIFS inspector

International Code Council (ICC) Certification

ICC-PCSI	Prestressed Concrete Special Inspector

ICC-RCSI 	Reinforced Concrete Special Inspector

ICC-SSI	Soils Special Inspector

ICC-SFSI 	Spray-applied Fireproofing Special Inspector

ICC-SMSI	Structural Masonry Special Inspector

ICC-SSBSI	Structural Steel and Bolting Special Inspector

ICC-SWSI	Structural Welding Special Inspector

National Institute for Certification in Engineering Technologies (NICET) Certification

NICET-CT	Concrete Technician – Levels I, II, III and IV

NICET-GET	Geotechnical Engineering Technician - Levels I, II, III and IV

NICET-ST	Soils Technician - Levels I, II, III and IV

Other

_________ 	_____________________________________________

_________ 	_____________________________________________

_________ 	_____________________________________________

_________ 	_____________________________________________

_________ 	_____________________________________________

Listing of Required Structural Tests and Special Inspections

| Required? | Structural Test or Special Inspection | Required Qualifications | Continuous | Periodic | Frequency of Periodic Test or Inspection |
| --- | --- | --- | --- | --- | --- |
| Steel Construction (ref: IBC-09 Table 1704.3) |  |  |  |  |  |
|  | 1. Material verification of high-strength bolts, nuts and washers: |  |  |  |  |
|  | - Identification markings to conform to ASTM standards specified in the approved construction documents. |  |  | X |  |
|  | - Manufacturer’s certificate of compliance required. |  |  | X |  |
|  | 2. Inspection of high strength bolting: |  |  |  |  |
|  | - Snug-tight joints. |  |  | X |  |
|  | - Pretensioned and slip-critical joints using turn-of-nut with matchmarking, twist-off bolt, or direct tension indicator methods of installation. |  |  | X |  |
|  | - Pretensioned and slip-critical joints using turn-of-nut without matchmarking, twist-off bolt or calibrated wrench methods of installation. |  | X |  |  |
|  | 3. Material verification of structural steel and cold-formed steel deck: |  |  |  |  |
|  | - For structural steel, identification markings to conform to AISC 360. |  |  | X |  |
|  | - For other steel, identification markings to conform to ASTM standards specified in the construction documents |  |  | X |  |
|  | - Manufacturer’s certified test reports. |  |  | X |  |
|  | 4. Material verification of weld filler metals: |  |  |  |  |
|  | - Identification markings to conform to AWS specification in the construction documents. |  |  | X |  |
|  | - Manufacturer’s certificate of compliance required. |  |  | X |  |
|  | 5. Inspection of welding: |  |  |  |  |
|  | - Structural steel and cold-formed steel deck: |  |  |  |  |
|  | 1) Complete and partial joint penetration groove welds |  | X |  |  |
|  | 2) Multi-pass fillet welds. |  | X |  |  |
|  | 3) Single-pass fillet welds > 5/16” |  | X |  |  |
|  | 4) Plug and slot welds |  | X |  |  |
|  | 5) Single-pass fillet welds ≤ 5/16” |  |  | X |  |
|  | 6) Floor and roof deck welds. |  |  | X |  |
|  | - Reinforcing steel: |  |  |  |  |
|  | 1) Verification of weldability of reinforcing steel other than ASTM A706. |  |  | X |  |
|  | 2) Reinforcing steel resisting flexural and axial forces in intermediate and special moment frames, and boundary elements of special structural walls of concrete and shear reinforcement. |  | X |  |  |
|  | 3) Shear reinforcement. |  | X |  |  |
|  | 4) Other reinforcing steel. |  |  | X |  |
|  | 6. Inspection of steel frame joint details for compliance: |  |  |  |  |
|  | - Details such as bracing and stiffening. |  |  | X |  |
|  | - Member locations. |  |  | X |  |
|  | - Application of joint details at each connection. |  |  | X |  |
|  | 7. Cold-formed steel trusses spanning 60 feet or greater: |  |  |  |  |
|  | - Verify temporary installation restrain/bracing and permanent individual truss member restraint/bracing installed in accordance with approved truss submittal. |  |  | X |  |
| Concrete Construction (ref: IBC-09 Table 1704.4) |  |  |  |  |  |
|  | 1. Inspection of reinforcing steel, including prestressing tendons, and placement. (Refer to instructions on Page 3) |  |  | X |  |
|  | 2. Inspection of reinforcing steel welding in accordance with item 5b above. |  |  |  |  |
|  | 3. Inspection of bolts to be installed in concrete prior to and during placement of concrete where allowable loads have been increased or where strength is used. |  | X |  |  |
|  | 4. Inspection of anchors installed in hardened concrete. |  |  | X |  |
|  | 5. Verify use of approved design mix. |  |  | X |  |
|  | 6. At the time fresh concrete is sampled to fabricate specimens for strength tests, perform slump and air content tests, and determine the temperature of the concrete. (Refer to instructions on Page 3) |  | X |  |  |
|  | 7. Inspection of concrete and shotcrete placement for proper application techniques. |  | X |  |  |
|  | 8. Inspection for maintenance of specified curing temperature and techniques. |  |  | X |  |
|  | 9. Inspection of prestressed concrete: |  |  |  |  |
|  | - Application of prestressing forces |  | X |  |  |
|  | - Grouting of bonded prestressing tendons in the seismic-force-resisting system. |  | X |  |  |
|  | 10. Erection of precast structural members |  |  | X |  |
|  | 11. Verification of in-situ concrete strength, prior to stressing of tendons in post-tensioned concrete and prior to removal of shores and forms from beams and structural slabs. |  |  | X |  |
|  | 12. Inspection formwork for shape, location and dimensions of the concrete member being formed. |  |  | X |  |
| Level 1 Masonry Construction (ref: IBC-09 Table 1704.5.1) |  |  |  |  |  |
|  | 1. Verify compliance with required inspection provisions of the construction documents and approved submittals. |  |  | X |  |
|  | 2. At the start of masonry construction, verify: |  |  |  |  |
|  | - Proportions of site-prepared mortar. |  |  | X |  |
|  | - Construction of mortar joints. |  |  | X |  |
|  | - Location of reinforcement, connectors, prestressing tendons and anchorages. |  |  | X |  |
|  | - Prestressing technique. |  |  | X |  |
|  | - Grade and size of prestressing tendons and anchorages. |  |  | X |  |
|  | 3. During masonry construction, verify: |  |  |  |  |
|  | - Size and location of structural members. |  |  | X |  |
|  | - Type, size and location of anchors, including other details of anchorage of masonry to structural members, frames, or other construction. |  |  | X |  |
|  | - Specified size, grade and type of reinforcement, anchor bolts, prestressing tendons and anchorages. |  |  | X |  |
|  | - Welding of reinforcing bars. |  | X |  |  |
|  | - Preparation, construction and protection of masonry during cold weather (temperature below 40°F) or hot weather (temperature above 90°F). |  |  | X |  |
|  | - Application and measurement of prestressing force. |  | X |  |  |
|  | 4. Prior to grouting, verify: |  |  |  |  |
|  | - Grout space is clean. |  |  | X |  |
|  | - Placement of reinforcing and connectors, and prestressing tendons and anchorages. |  |  | X |  |
|  | - Proportions of site-prepared grout and prestressing grout for bonded tendons. |  |  | X |  |
|  | - Construction of mortar joints. |  |  | X |  |
|  | 5. Verify grout placement. |  | X |  |  |
|  | - Grouting of prestressing bonded tendons |  | X |  |  |
|  | 6. Observe preparation of grout specimens, mortar specimens and/or prisms. |  |  | X |  |
| Level 2 Masonry Construction (ref: IBC-09 Table 1704.5.3) |  |  |  |  |  |
|  | 1. Verify compliance with required inspection provisions of the construction documents and approved submittals. |  |  | X |  |
|  | 2. Verify: |  |  |  |  |
|  | - Proportions of site-prepared mortar, grout and prestressing grout for bonded tendons |  |  | X |  |
|  | - Placement of masonry units and construction of mortar joints. |  |  | X |  |
|  | - Placement of reinforcement, connectors and prestressing tendons and anchorages. |  |  | X |  |
|  | - Grout space prior to grouting. |  | X |  |  |
|  | - Placement of grout. |  | X |  |  |
|  | - Placement of prestressing grout. |  | X |  |  |
|  | - Size and location of structural elements. |  |  | X |  |
|  | - Type, size and location of anchors, including other details of anchorage of masonry to structural members, frames or other construction. |  | X |  |  |
|  | - Specified size, grade and type of reinforcement, anchor bolts, prestressing tendons and anchorages. |  |  | X |  |
|  | - Welding or reinforcing bars. |  | X |  |  |
|  | - Preparation, construction and protection of masonry during cold weather (temperature below 40°F) or hot weather (temperature above 90°F). |  |  | X |  |
|  | - Application and measurement of prestressing force. |  | X |  |  |
|  | 3. Observe preparation of grout specimens, mortar specimens and/or prisms. |  | X |  |  |
| Wood Construction (ref: IBC-09 Section 1704.6) |  |  |  |  |  |
|  | 1. Inspect prefabricated wood structural elements in accordance with Section 1704.2 |  |  | X |  |
|  | 2. High load diaphragms: |  |  |  |  |
|  | - Verify sheathing thickness and grade. |  |  | X |  |
|  | - Verify nominal size of framing members at adjoining panel edges. |  |  | X |  |
|  | - Verify nail or staple diameter and length. |  |  | X |  |
|  | - Verify number of fastener line. |  |  | X |  |
|  | - Verify spacing between fasteners in each line and at panel edges. |  |  | X |  |
|  | 3. Shearwalls: |  |  |  |  |
|  | - Verify sheathing thickness and grade. |  |  | X |  |
|  | - Verify nominal size of framing members at adjoining panel edges. |  |  | X |  |
|  | - Verify nail or staple diameter and length. |  |  | X |  |
|  | - Verify number of fastener line. |  |  | X |  |
|  | - Verify spacing between fasteners in each line and at panel edges. |  |  | X |  |
|  | - Location and size of holdowns. |  |  | X |  |
|  | 4. Verify nailing, bolting, anchoring and fastening of: |  |  |  |  |
|  | - Drag struts and collectors. |  |  | X |  |
|  | - Braces. |  |  | X |  |
|  | - Hold-downs. |  |  | X |  |
| Soils (ref: IBC-09 Table 1704.7) |  |  |  |  |  |
|  | 1. Verify materials below shallow foundations are adequate to achieve the required bearing capacity. |  |  | X |  |
|  | 2. Verify excavations are extended to proper depth and have reached proper material. |  |  | X |  |
|  | 3. Perform classification and testing of compacted fill materials. (Refer to instructions on Page 3) |  |  | X |  |
|  | 4. Verify use of proper materials, densities and lift thicknesses during placement and compaction of compacted fill. (Refer to instructions on Page 3) |  | X |  |  |
|  | 5. Prior to placement of controlled fill, observe subgrade and verify that site has been prepared properly. |  |  | X |  |
| Pile Foundations (ref: IBC-09 Table 1704.8) |  |  |  |  |  |
|  | 1. Verify pile materials, sizes and lengths. |  | X |  |  |
|  | 2. Determine capacities of test piles and conduct additional load tests when required. Refer to project specifications. |  | X |  |  |
|  | 3. Observe driving operations and maintain complete and accurate records for each piling. |  | X |  |  |
|  | 4. Verify pile locations and plumbness. |  | X |  |  |
|  | - Verify type and size of hammer. |  | X |  |  |
|  | - Record number of blows per foot of penetration. |  | X |  |  |
|  | - Determine required penetration to achieve specified capacity. |  | X |  |  |
|  | - Record pile tip and butt elevations. |  | X |  |  |
|  | - Document any damage to piling. |  | X |  |  |
|  | 5. For steel piling, perform additional inspection in accordance with Section 1704.3. |  |  |  |  |
|  | 6. For concrete piling and concrete-filled elements, perform additional inspections in accordance with Section 1704.4. |  |  |  |  |
|  | 7. For specialty elements, perform additional inspections as required in the project specifications. |  |  |  |  |
| Cast-In-Place Deep Foundations (ref: IBC-09 Table 1704.9) |  |  |  |  |  |
|  | 1. Observe driving operations and maintain complete and accurate records for each element. |  | X |  |  |
|  | 2. Verify element locations and plumbness. |  | X |  |  |
|  | - Verify element diameter. |  | X |  |  |
|  | - Verify bell diameter (if applicable). |  | X |  |  |
|  | - Verify element lengths. |  | X |  |  |
|  | - Verify embedment depth into bedrock (if applicable). |  | X |  |  |
|  | - Verify adequate end-bearing strata capacity. |  | X |  |  |
|  | - Record concrete or grout volumes. |  | X |  |  |
|  | 3. For concrete elements, perform additional inspections in accordance with Section 1704.4. |  |  |  |  |
| Helical Piles (ref: IBC-09 Section 1704.10) |  |  |  |  |  |
|  | 1. Verify pile locations |  | X |  |  |
|  | - Verify installation equipment used. |  | X |  |  |
|  | - Verify pile dimensions. |  | X |  |  |
|  | - Verify tip elevations. |  | X |  |  |
|  | - Verify final depth. |  | X |  |  |
|  | - Verify final installation torque. |  | X |  |  |
|  | - Other data as required by the project specifications. |  | X |  |  |
| Sprayed Fire-Resistant Materials (ref: IBC-09 Section 1704.12) |  |  |  |  |  |
|  | 1. Prior to application, verify surface preparation is in accordance with the written instructions of the approved manufacturer. |  |  | X |  |
|  | 2. Verify substrate temperature before and after application is in accordance with the written instructions of the approved manufacturer. |  |  | X |  |
|  | 3. Verify ventilation of area before and after application is in accordance with the written instructions of the approved manufacturer. |  |  | X |  |
|  | 4. Measure average thickness per ASTM E605 and IBC-09 Section 1704.12.4. |  |  | X |  |
|  | 5. Determine density in accordance with ASTM E605 and IBC-09 Section 1704.12.5. |  |  | X |  |
|  | 6. Determine cohesive/adhesive bond strength in accordance with ASTM E736 and IBC-09 Section 1704.12.6. |  |  | X |  |
| Mastic and Intumescent Fire-Resistant Coatings (ref: IBC-09 Section 1704.13) |  |  |  |  |  |
|  | 1. Perform inspections in accordance with AWCI 12-B and IBC-09 Section 1704.13. |  |  | X |  |
| Exterior Insulation and Finish Systems (EIFS) (ref: IBC-09 Section 1704.14) |  |  |  |  |  |
|  | 1. Perform inspections in accordance with project specifications and IBC-09 Section 1704.14. |  |  | X |  |
| Smoke Control (ref: IBC-09 Section 1704.16) |  |  |  |  |  |
|  | 1. Perform inspections in accordance with project specifications and IBC-09 Section 1704.16. |  |  | X |  |
| Wind Resistance (ref: IBC-09 Section 1706) |  |  |  |  |  |
|  | 1. See page 2 of this form for requirements. |  |  |  |  |
| Seismic Resistance (ref: IBC-09 Section 1707) |  |  |  |  |  |
|  | 1. See page 2 of this form for requirements. |  |  |  |  |
| Mechanical and Electrical Components (ref: IBC-09 Section 1707.7) |  |  |  |  |  |
|  | 1. Inspect anchorage of electrical equipment for emergency or standby power systems in structures assigned to Seismic Design Category C, D, E or F. |  |  | X |  |
|  | 2. Inspect anchorage of other electrical equipment in structures assigned to Seismic Design Category E or F. |  |  | X |  |
|  | 3. Inspect installation of piping systems carrying flammable, combustible or highly toxic contents and their associated mechanical units in structures assigned to Seismic design Category C, D, E or F. |  |  | X |  |
|  | 4. Inspect installation of HVAC ductwork that will contain hazardous materials in structures assigned to Seismic Design Category C, D, E or F. |  |  | X |  |
|  | 5. Inspect installation of vibration isolation systems in structures assigned to Seismic design Category C, D, E or F where the construction documents require a nominal clearance of ¼ inch or less between the equipment support frame and restraint. |  |  | X |  |