## GSA Adopts New Accessibility Standards Under the Barriers Act

## November 8, 2005

The General Services Administration (GSA) has adopted new accessibility standards for federally funded facilities based on updated guidelines the Board issued in 2004. The adopted standards will apply to a wide range of new or altered buildings under the Architectural Barriers Act (ABA), which ensures access to facilities designed, built, altered or leased with Federal money. They will take effect in 6 six months and will replace the existing standards, known as the Uniform Federal Accessibility Standards (UFAS).

The design and construction of new facilities, altered areas of existing facilities, and leased facilities will be subject to the standards, which contain updated provisions that improve accessibility while facilitating compliance. The new standards will apply to construction and alterations that commence after May 8, 2006, and to leases entered into after this date. Compliance with the UFAS standard will be permitted for construction and alterations that begin before this date and for projects whose design is substantially complete by this date. Further details are provided in a notice issued by GSA (see section 102-76.60, which is located on page 62 of the PDF version).

GSA’s ABA standards apply to all federally funded facilities, except residential, postal, and military facilities, which are covered by standards maintained by other Federal agencies. Last May, the U.S. Postal Service similarly updated its standards which govern post offices and other postal facilities. The departments of Housing and Defense will follow suit and complete the implementation of new standards under the ABA.

The Board’s updated guidelines, which are driving this replacement, also will serve to update the standards used to enforce the ADA. The ADA covers non-Federal facilities, including places of public accommodation, commercial facilities, and state and local government facilities. ADA standards are maintained by the Department of Justice and, in the case of transit facilities, the Department of Transportation. The Board updated its ABA and ADA guidelines jointly and reconciled differences between them so that a more uniform level of access is specified under both laws. This enhanced uniformity will be realized once all ADA and ABA standards are updated and in effect.

Further information on the update of ABA or ABA standard is availalble on this site.

[Federal Register: November 8, 2005 (Volume 70, Number 215)]

[Rules and Regulations]

[Page 67785-67860]

From the Federal Register Online via GPO Access [wais.access.gpo.gov]

[DOCID:fr08no05-5]

[[Page 67785]]

Part II

General Services Administration

-----------------------------------------------------------------------

41 CFR Parts 102-71, 102-72, et al;

Federal Management Regulation; Real Property Policies Update; Final

Rule

Subpart C--Architectural Barriers Act

Sec.  102-76.60 To which facilities does the Architectural Barriers

Act apply?

(a) The Architectural Barriers Act applies to any facility that is

intended for use by the public or that may result in the employment or

residence therein of individuals with disabilities, which is to be--

(1) Constructed or altered by, or on behalf of, the United States;

(2) Leased in whole or in part by the United States;

(3) Financed in whole or in part by a grant or loan made by the

United States, if the building or facility is subject to standards for

design, construction, or alteration issued under the authority of the

law authorizing such a grant or loan; or

(4) Constructed under the authority of the National Capital

Transportation Act of 1960, the National Capital Transportation Act of

1965, or Title III of the Washington Metropolitan Area Transit

Regulation Compact.

(b) The Architectural Barriers Act does not apply to any privately

owned residential facility unless leased by the Government for

subsidized housing programs, and any facility on a military reservation

designed and constructed primarily for use by able bodied military

personnel.

Sec.  102-76.65  What standards must facilities subject to the

Architectural Barriers Act meet?

(a) GSA adopts Appendices C and D to 36 CFR part 1191 (ABA Chapters

1 and 2, and Chapters 3 through 10) as the Architectural Barriers Act

Accessibility Standard. Facilities subject to the Architectural

Barriers Act (other than facilities in 102-76.65(b) and (c)) must meet

the Architectural Barriers Act Accessibility Standard if the

construction or alteration commences, or the lease is entered into

after May 8, 2006. If the construction or alteration commences, or the

lease is entered into before May 8, 2006, the facility must meet the

Uniform Federal Accessibility Standards. The construction or alteration

of a facility for which plans and specifications were completed or

substantially completed on or before May 8, 2006, is permitted to meet

the Uniform Federal Accessibility Standards if the construction or

alteration is commenced by May 8, 2008. The Architectural Barriers Act

Accessibility Standard and the Uniform Federal Accessibility Standards

are available at http://www.access-board.gov.

(b) Residential facilities subject to the Architectural Barriers

Act must meet the standards prescribed by the Department of Housing and

Urban Development.

(c) Department of Defense and United States Postal Service

facilities subject to the Architectural Barriers Act must meet the

standards prescribed by those agencies.

[[Page 67847]]

Sec.  102-76.70  When are the costs of alterations to provide an

accessible path of travel to an altered area containing a primary

function disproportionate to the costs of the overall alterations for

facilities subject to the standards in Sec.  102-76.65(a)?

For facilities subject to the standards in Sec.  102-76.65(a), the

costs of alterations to provide an accessible path of travel to an

altered area containing a primary function are disproportionate to the

costs of the overall alterations when they exceed 20 percent of the

costs of the alterations to the primary function area. If a series of

small alterations are made to areas containing a primary function and

the costs of any of the alterations considered individually would not

result in providing an accessible path of travel to the altered areas,

the total costs of the alterations made within the three year period

after the initial alteration must be considered when determining

whether the costs of alterations to provide an accessible path of

travel to the altered areas are disproportionate. Facilities for which

new leases are entered into must comply with F202.6 of the

Architectural Barriers Act Accessibility Standard without regard to

whether the costs of alterations to comply with F202.6 are

disproportionate to the costs of the overall alterations.

Sec.  102-76.75  What costs are included in the costs of alterations to

provide an accessible path of travel to an altered area containing a

primary function for facilities subject to the standards in Sec.  102-

76.65(a)?

For facilities subject to the standards in Sec.  102-76.65(a), the

costs of alterations to provide an accessible path of travel to an

altered area containing a primary function include the costs associated

with--

(a) Providing an accessible route to connect the altered area and

site arrival points, including but not limited to interior and exterior

ramps, elevators and lifts, and curb ramps;

(b) Making entrances serving the altered area accessible, including

but not limited to widening doorways and installing accessible

hardware;

(c) Making restrooms serving the altered area accessible,

including, but not limited to, enlarging toilet stalls, installing grab

bars and accessible faucet controls, and insulating pipes under

lavatories;

(d) Making public telephones serving the altered area accessible,

including, but not limited to, placing telephones at an accessible

height, and installing amplification devices and TTYs;

(e) Making drinking fountains serving the altered area accessible;

and

(f) Making parking spaces serving the altered area accessible.

Sec.  102-76.80  What is required if the costs of alterations to

provide an accessible path of travel to an altered area containing a

primary function are disproportionate to the costs of the overall

alterations for facilities subject to the standards in Sec.  102-

76.65(a)?

For facilities subject to the standards in Sec.  102-76.65(a), if

the costs of alterations to provide an accessible path of travel to an

altered area containing a primary function are disproportionate to the

costs of the overall alterations, the path of travel must be made

accessible to the extent possible without exceeding 20 percent of the

costs of the alterations to the primary function area. Priority should

be given to those elements that will provide the greatest access in the

following order:

(a) An accessible route and an accessible entrance;

(b) At least one accessible restroom for each sex or a single

unisex restroom;

(c) Accessible telephones;

(d) Accessible drinking fountains; and

(e) Accessible parking spaces.

Sec.  102-76.85  What is a primary function area for purposes of

providing an accessible route in leased facilities subject to the

standards in Sec.  102-76.65(a)?

For purposes of providing an accessible route in leased facilities

subject to the standards in Sec.  102-76.65(a), a primary function area

is an area that contains a major activity for which the leased facility

is intended. Primary function areas include areas where services are

provided to customers or the public, and offices and other work areas

in which the activities of the Federal agency using the leased facility

are carried out.

Sec.  102-76.90  Who has the authority to waive or modify the standards

in Sec.  102-76.65(a)?

The Administrator of General Services has the authority to waive or

modify the standards in Sec.  102-76.65(a) on a case-by-case basis if

the agency head or GSA department head submits a request for waiver or

modification and the Administrator determines that the waiver or

modification is clearly necessary.

Sec.  102-76.95  What recordkeeping responsibilities do Federal

agencies have?

(a) The head of each Federal agency must ensure that documentation

is maintained on each contract, grant or loan for the design,

construction or alteration of a facility and on each lease for a

facility subject to the standards in Sec.  102-76.65(a) containing one

of the following statements:

(1) The standards have been or will be incorporated in the design,

the construction or the alteration.

(2) The grant or loan has been or will be made subject to a

requirement that the standards will be incorporated in the design, the

construction or the alteration.

(3) The leased facility meets the standards, or has been or will be

altered to meet the standards.

(4) The standards have been waived or modified by the Administrator

of General Services, and a copy of the waiver or modification is

included with the statement.

(b) If a determination is made that a facility is not subject to

the standards in Sec.  102-76.65(a) because the Architectural Barriers

Act does not apply to the facility, the head of the Federal agency must

ensure that documentation is maintained to justify the determination.