United States Department of the Interior

NATIONAL PARK SERVICE

DENVER SERVICE CENTER

12795 W. Alameda Parkway

P.O. Box 25287

Denver, Colorado 80225-0287

IN REPLY REFER TO:

D5217 (DSC-CS)

PARK-PMIS

1443CX_____

Contractor

Address

City, State Zip

Gentlemen:

Reference:	Park, _____ County, State, Contract No. 1443CX_____, Developed Area, Project Title, Package Number PARK-PMIS

Subject:	Beneficial Occupancy – Facility Identification

In accordance with the contract clause entitled “Use and Possession Prior to Completion,” the Government has taken beneficial occupancy of Facility Identification or Description, Bid Item No. _____ (if applicable), bid item title, constructed as part of the referenced project.  The inspection took place on DATE, at the convenience of the Government.   The date established for taking beneficial occupancy is DATE.

The purpose of the inspection was to develop an itemized list of work remaining to be performed or corrected on the portions of the project to be possessed or used by the Government.  The following items need to be completed in accordance with the results of the inspection.

BUILDING A – NEW BUNKHOUSE

- Paint between all doubled rafter ends.

- Caulk rafter ends – daylight still shows through.

- Install thresholds.

- Paint ventwells.

- Paint condenser control box and copper tube brown.

- Redo side backsplash on vanity in east bedroom to match other one.

- Caulk side backsplash on vanity in west bedroom.

- Clean glue/caulk from rafter above exterior door in west bedroom.  Revarnish.

- Linoleum buckled between kitchen and bedroom.

- Bubble in bedroom linoleum to the west of bedroom door.

CRAWL SPACE

- Install rodent barrier around all penetrations of floor.

- Grout all stemwall penetrations.

GENERAL

- Provide Operation and Maintenance Manuals.

- Furnish as-constructed drawings.

Failure to list any item of work shall not relieve the contractor of responsibility for compliance with the terms of the contract.  Such possession or use of the inspected facilities shall not be deemed an acceptance of any work under the contract.

Sincerely,

CO Name

Contracting Officer

cc:

Regional Director, _____ Region

Superintendent, _____

Superintendent, _____ SO

bcc:

DSC-PM, _____

DSC-PDS, COR

CS1201:CS:PT:date:ext:name