NPS DSC Division 1 Specifications

National Park Service (NPS) - Denver Service Center (DSC) | 6-12-24

By using NPS DSC Division 1 Specifications, you acknowledge you read, understand,
and will format edits according to NPS DSC Division 1 Specifications Instructions.

<Insert Park and Project Management Information System (PMIS) number>

SECTION 01 35 23 - SAFETY REQUIREMENTS

Additional paragraphs and subparagraphs should be added below if required for project safety and not included in technical section specific to work. These can include confined spaces, water, electrocution, trenching, scaffolding, crane and lifting equipment procedures, among many other requirements.

GENERAL

SUMMARY

Section includes establishing an effective accident prevention program and providing a safe working environment for personnel and visitors.

CONDITIONS PRESENT FOR PROJECT

<List and describe: confined spaces, water, electrocution, trenching, scaffolding, crane and lifting equipment procedures, wildlife, weather, hazardous materials, flooding, fatigue, heat, cold, among many other requirements.>

SUBMITTALS

Accident Prevention Plan (APP): Submit APP after contract award and before Pre-Construction conference. Contracting Officer (CO) will review proposed APP. If APP requires any revisions or corrections, Contractor shall resubmit Plan within 10 days. No progress payments will be made until the APP is accepted.

QUALITY ASSURANCE

Comply with contract clauses "Accident Prevention" and "Permits and Responsibilities." In case of conflicts between Federal, State, and local safety and health requirements, the most stringent shall apply. Onsite equipment shall meet 29 CFR 1926 (Code of Federal Regulations) (Occupational Safety and Health Administration (OSHA)) requirements. Failure to comply with requirements of this section and related sections may result in suspension of work.

Site Safety Supervisor:

Designate authorized onsite representative for preparation and maintenance of the APP.

Shall be responsible for:

Implementation and enforcement of the APP

Daily safety inspections

Conducting and documenting weekly and monthly safety meetings

Review of safety requirements at progress meetings

Compilation and maintenance of Safety Data Sheets (SDS) and safety reference materials

Tracking and resolution of safety violations

Site personnel and visitor compliance with site safety and health requirements and APP

Investigation and reporting of accidents and injuries

Qualifications of Employees:

Physically and able to perform their assigned duties in a safe manner.

Do not allow employees whose ability or alertness is impaired because of prescription or illegal drug use, fatigue, illness, intoxication, or other conditions that may expose themselves or others to injury to perform work.

Provide operating instructions for equipment. Operators of vehicles, hoisting equipment, and hazardous plant equipment shall be able to understand signs, signals, operating instructions, and be fully capable of operating such equipment. Retain copies of operator licenses and certifications onsite.

ACCIDENT REPORTING

Reportable Accidents: Defined as: death, occupational disease, and/or traumatic injury to employees or the public; fires; and/or property damage by accident in excess of $100.

Notify Contracting Officer immediately in the event of a reportable accident.

Fill out and forward an Accident/Property Damage Report Form (CM-22) to Contracting Officer within 7 days of a reportable accident. Obtain form from Contracting Officer.

RESOURCES

COVID-19 (Coronavirus Disease 2019) information provided below is not intended to provide a complete analysis of requirements for Contractor and is provided as a courtesy.

Occupational Safety and Health Administration (United States Department of Labor) -COVID-19

Center for Disease Control (CDC) - Get the Facts About Coronavirus

Federal Emergency Management Agency (FEMA) - Coronavirus (COVID-19) Response

National Park Service (NPS) - NPS Public Health Update

PRODUCTS

ACCIDENT PREVENTION PLAN (APP)

APP shall be written to comply with OSHA and project requirements (generic plan is not acceptable) including but not limited to:

Name and qualifications of supervisor responsible to carry out program.

Weekly and monthly safety meetings shall be documented with topics and attendees.

First aid and rescue procedures.

Job Hazard Analysis (JHA) for each major phase. List of hazards associated and methods proposed to provide for property protection and safety of the public, National Park Service personnel, and Contractor's employees. Include initial and continuing training.

Planning for possible emergency situations, as detailed in Article 1.2. Such planning shall take nature of construction, site conditions, and degree of exposure of persons and property into consideration.

If explosives are not required or allowed on project, delete paragraph below. If explosives are to be used on project, include paragraph 6 below, and include Specification Section 01 35 25 "Explosives" modified for specific project

Blasting Plan Requirements: See Section 01 35 25 "Explosives."

Infectious Disease Preparedness:

Contractors are responsible for their employees’ safety and the safety of job site visitors during the performance of this contract. We encourage Contractors to follow guidance from the Department of Labor (DOL), Occupational Safety and Health Administration (OSHA), the Centers for Disease Control and Prevention (CDC), and all other applicable local, city, and state mandates. We encourage Contractors to develop policies for infection prevention and an Infectious Disease Preparedness and Response Plan.

To the extent appropriate, Contractors should include the protective health and safety measures they intend to implement in any accident prevention or safety submittals required under this contract. These plans should contain preventive measures the Contractor intends to follow while performing work on government property as well as responsive and corrective actions to be taken if an employee exhibits symptoms or tests positive for contagion.

Upon contract award, Contractors should communicate with Contracting Officer regarding Contractor decisions and actions to protect the health and safety of workers for the duration of contract performance under which pandemic conditions exist.

FIRST AID FACILITIES

Provide adequate facilities for number of employees and appropriate to construction hazards.

PERSONNEL PROTECTIVE EQUIPMENT (PPE)

Selection shall conform to OSHA Subpart E.

EXECUTION

DAILY SAFETY INSPECTIONS

Conduct daily safety inspections and maintain daily safety reports which include:

Area/operation inspected

Date of inspection

Identified hazards

Corrective actions taken

EMERGENCY INSTRUCTIONS

Post telephone numbers and reporting instructions for ambulance, physician, hospital, fire department, and police in conspicuous locations at work site.

FIRE AND LIFE SAFETY

Comply with requirements of <List Edition> International Fire Code <List current applicable chapter, Chapter 33 Fire Safety During Construction and Demolition>.

HAZARDOUS MATERIALS

Hazardous materials: Explosive, flammable, poisonous, corrosive, oxidizing, irritating, or otherwise harmful substances that could cause death or injury.

Store hazardous materials in accordance with manufacturer’s and OSHA Subpart D requirements. Maintain Safety Data Sheets (SDS) for each chemical readily available on site.

Immediately report spills of hazardous materials to the Park.

Maintain a spill emergency response kit.

Train employees how to respond to a spill and use emergency response kit.

PROTECTIVE EQUIPMENT

Inspect personal protective equipment daily and maintain in a serviceable condition. Clean, sanitize, and repair personal items as appropriate before issuing to another individual.

SAFETY MEETINGS

As a minimum, conduct one weekly 15-minute "toolbox" safety meeting conducted by a foreman or supervisor and attended by construction personnel at worksite. Topics shall coincide with work scheduled for following week. Document and submit meeting minutes to Contracting Officer within one day after meeting.

Conduct monthly safety meetings for personnel, contractors, and subcontractors performing work on the site. Notify Contracting Officer of meeting dates and times. Meetings shall be used to: review effectiveness of Contractor's safety effort; resolve current health and safety problems; provide a forum for planning safe construction activities, and for updating Accident Prevention Plan. Contracting Officers Representative will attend meetings and enter results of meetings into the daily log.

HARD HATS AND PROTECTIVE EQUIPMENT AREAS

A hard hat use area shall be designated by Contractor. Hard hat area shall be posted by Contractor in a manner satisfactory to Contracting Officer.

It is Contractor's responsibility to require persons working on or visiting site to wear hard hats and PPE in good repair at all times. As a minimum, maintain [six] <Insert number> hard hats and other APP required equipment.

TRAINING

First Aid: Provide training to personnel to ensure prompt and efficient first aid.

Hazardous Material: Train and instruct each employee exposed to hazardous material in safe and approved methods of handling and storage.

- END OF SECTION 01 35 23