## Instructions & Glossary
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Cover Sheet
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
Park Name:
Completed by:
| Name (print) |  |  |  |  | Signature
| Title |  |  |  |  | Date
| Telephone Number |  |  |  |  | E-mail
COMPLETED IN COLLABORATION WITH:
Curator:
| Name (print) |  |  |  |  | Title
Facility Manager:
| Name (print) |  |  |  |  | Title
Structural Fire Coordinator:
| Name (print) |  |  |  |  | Title |  |  | Park/Region/Division
Emergency Planning:
| Name (print) |  |  |  |  | Title |  |  | Park/Region/Division
Safety Officer:
| Name (print) |  |  |  |  | Title |  |  | Park/Region/Division
Other:
| Name (print) |  |  |  |  | Title |  |  | Park/Region/Division
Superintendent:
| Name (print) |  |  |  |  | Signature (optional)
FACILITY EXECUTIVE SUMMARY (Complete narrative after identifying risks)
FACILITY INFORMATION
Facility Name: |  |  |  |  | Describe:
FMSS Number:
(Facility Management Software System, PFMD)
FBMS ID:
(Federal Building Management System, PFMD)
Facility Condition Index: |  |  |  |  | Asset Priority Index:
(Park Facilities & Management Division) |  |  |  |  | (Park Facilities & Management Division)
Ownership:
(Select one) |  |  | Describe:
Facility is: |  |  |  |  | Year built: |  |  | Number of floors:
(Select one)
Building materials:
(Envelope & Interior)
Number of exterior doors:
Describe, including materials and if original/historic/reproduction:
Number of exterior windows:
Describe, including materials and if original/historic/reproduction:
Facility is located in: |  |  |  |  | Yes/No | Comments
(Select "Yes" for all that apply) | 100-year floodplain
Area susceptible to flooding from tidal action
Area of high-medium seismic activity
Area with frequent hurricanes
Area with frequent tornadoes
Near active volcano
Near source of potential chemical spill / accident
Wildland-Urban Interface
Wildland Fire Vulnerability
Score |  |  | Comments:
Facility has:
(Select "Yes" for all that apply) | Attic |  |  | Basement |  |  | Loading dock
Comments:
FACILITY FUNCTION
Is facility solely used for museum functions?
| (Yes/No) |  | Describe:
Facility contains |  |  |  |  | Yes/No (Indicate all that apply) | Sq ft (estimate) | Cubic ft (estimate) | Comments
Collections Storage (Objects)
Collections Storage (Archives)
Collections Storage (Other)
Temporary Holding Area
Work/Preparation Room(s)
Curatorial Office(s)
Research Room
Exhibit (Furnished Historic Structure)
Exhibit (Visitor Center)
Exhibit (Gallery/Museum)
Exhibit (Administrative Office)
Other (Describe):
| Total (Museum program) |  |  |  |  | 0 | 0
| Total (Entire building) |  |  |  |  | sq ft | cubic ft
Percentage of objects in the entire collection stored or exhibited in this facility (estimate) |  | %
Comment:
Facility has designated secure
package receiving station? | (Yes/No) |  | Describe:
Public programming
takes place in facility? | (Yes/No) |  | Describe:
Does facility house collections
from multiple parks? | (Yes/No) |  | Describe:
Total number of facilities
housing collections at park |  |  | Describe:
Occupant Load |  |  |  | individuals
(Determined by Fire Dept.)
Response Times: |  |  | minutes |  |  |  | minutes
| Fire Department |  |  |  | Law Enforcement
SYSTEMS
Systems Installed: | (Yes/No)
Automatic fire detection |  |  | When Installed: |  |  | Most Recent Maintenance: |  |  | Describe:
Automatic fire sprinkler / suppression |  |  | When Installed: |  |  | Most Recent Maintenance: |  |  | Describe:
Intrusion detection and alarm |  |  | When Installed: |  |  | Most Recent Maintenance: |  |  | Describe:
HVAC |  |  | When Installed: |  |  | Most Recent Maintenance: |  |  | Describe:
Elevator |  |  | When Installed: |  |  | Most Recent Maintenance: |  |  | Describe:
Total Yes: | 0
Total No: | 0
TOTALS (DO NOT manually fill in, populates automatically)
Risk Factor Responses: |  |  |  | Yes | No | NA | Unknown
| Museum Environment |  |  | 0 | 0 | 0 | 0
| Museum IPM & Housekeeping |  |  | 0 | 0 | 0 | 0
| Handling & Packing (museum-wide) |  |  | 0 | 0 | 0 | 0
| Museum Storage |  |  | 0 | 0 | 0 | 0
| Museum Emergency Planning |  |  | 0 | 0 | 0 | 0
| Museum Fire Protection |  |  | 0 | 0 | 0 | 0
| Health & Safety (museum-wide) |  |  | 0 | 0 | 0 | 0
| Museum Security |  |  | 0 | 0 | 0 | 0
| Museum Structure |  |  | 0 | 0 | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0
Corrective Action Priorities: |  |  |  | Critical | High | Medium | Low
| Museum Environment |  |  | 0 | 0 | 0 | 0
| Museum IPM & Housekeeping |  |  | 0 | 0 | 0 | 0
| Handling & Packing (museum-wide) |  |  | 0 | 0 | 0 | 0
| Museum Storage |  |  | 0 | 0 | 0 | 0
| Museum Emergency Planning |  |  | 0 | 0 | 0 | 0
| Museum Fire Protection |  |  | 0 | 0 | 0 | 0
| Health & Safety (museum-wide) |  |  | 0 | 0 | 0 | 0
| Museum Security |  |  | 0 | 0 | 0 | 0
| Museum Structure |  |  | 0 | 0 | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0
Corrective Action Schedule: |  |  |  | Immediate | Intermediate | Long-Term | PMIS |  | Work Orders |  | Estimated Cost
[7 empty] | Needed | Describe | Needed | Describe
| Museum Environment |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Museum IPM & Housekeeping |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Handling & Packing (museum-wide) |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Museum Storage |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Museum Emergency Planning |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Museum Fire Protection |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Health & Safety (museum-wide) |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Museum Security |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Museum Structure |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
| Total |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Assessments & Plans
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
MUSEUM ASSESSMENTS & PLANS
RISK ASSESSMENTS
(Yes/No)
NPS Checklist for Preservation and |  | (Required) | Year Approved | Comments
Protection of Museum Collections
Park Physical Security Assessment |  | (Required) | Year Approved | Comments
(Completed by LESES (Law Enforcement))
Life Safety and Fire Protection Risk Assessment |  | (Required) | Year Approved | Comments
(Formerly Fire Protection Condition Assessment, Completed by NPS Structural Fire Management Program)
Museum Security Survey |  |  | Year Completed | Comments
NPS Object Assessment |  |  | Year Completed | Comments
(MH I Figure 9.3)
Wildland Fire Risk Assessment |  |  | Year Approved | Comments
(Completed by National Interagency Fire Center & ArcGIS)
Total Yes: | 0
Total No: | 0
MUSEUM PLANNING DOCUMENTS (This section applies to the entire park museum program. If park has multiple facilities housing collections, complete this section only once.)
(Yes/No)
Scope of Collections Statement |  | (Required) | Year Approved | Comments
Museum Collections Emergency |  | (Required) | Year Approved | Comments
Operations Plan (MCEOP)
Museum Fire Section of Park |  | (Required) | Year Approved | Comments
Structural Fire Management Plan
Museum Security Plan |  | (Under Development) | Year Approved | Comments
(Incorporated into Park Physical Security Plan)
Collections Condition Survey(s) |  |  | Year(s) Approved | Comments
Collection Management Plan |  |  | Year Approved | Comments
Collections Storage Plan |  |  | Year Approved | Comments
Museum Housekeeping Plan |  |  | Year Approved | Comments
Integrated Pest Management Plan |  |  | Year Approved | Comments
Museum Mitigation Action Plan |  | (Required) | Last Updated | Comments
(MH I Fig 10.3)
Related Documents Addressing Museum Collections
Exhibit Plan |  |  | Year Approved | Comments
(Curatorial Review)
Historic Furnishing Plan |  |  | Year Approved | Comments
(Curatorial Review)
Historic Structures Report(s) |  |  | Year(s) Approved | Comments
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Museum Environment
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: MUSEUM ENVIRONMENT | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | Museum Handbook I
(Curatorial Responses)
1 | Structure excludes doors, windows, skylights, and chimneys to the extent possible, and is appropriately insulated to maintain a stable environment. | [9 empty] | B8 | 4.C.2 Museum Environment
2 | Park has established acceptable relative humidity (RH) and temperature set points and ranges based on an ongoing environmental monitoring program. | [10 empty] | 4.E-F, 4.F.6 Museum Environment
3 | RH and temperature are stable within established set point and fluctuation range 24/7/365. | [10 empty] | 4.A.4 Museum Environment
4 | Dataloggers or similar equipment record RH and temperature levels 24/7/365. | [9 empty] | A5, D1 | 4.G.3 Museum Environment
5 | Storage cabinets and exhibit cases are situated away from poorly-insulated exterior walls to minimize RH and temperature fluctuations. | [10 empty] | 4.C.1 Museum Environment
6 | Museum objects are displayed away from heating and air-conditioning vents. | [9 empty] | A6 | 4.A.4 Museum Environment
7 | Metal objects are stored in microenvironments with low RH. | [10 empty] | 4.F.8, Fig. 4.5 Museum Environment
8 | Space has functioning active or mechanical systems (heating, ventilation and air conditioning (HVAC) to control temperature. | [9 empty] | D12 | 4.H.4 Museum Environment
9 | Space has functioning active or mechanical systems (heating, ventilation and air conditioning (HVAC)) to control relative humidity (RH). | [9 empty] | D12 | 4.H.4 Museum Environment
10 | Windows, skylights, and other sources of ultraviolet radiation (UV) are blocked (such as with plywood) or covered with filtering material to prevent UV penetration. (If space has no windows or skylights, respond NA) | [9 empty] | B8 | 4.C.2 Museum Environment
11 | UV filtering material is monitored to ensure continued effectiveness. | [9 empty] | D8 | 4.J.4 Museum Environment
12 | Objects made of organic materials are regularly rotated off exhibit under an appropriate schedule to limit cumulative UV damage. | [10 empty] | 4.I.6 Museum Environment
13 | Objects made of organic materials (including artwork) and photographs are not exposed to UV radiation. | [9 empty] | A8 | 4.J.3 Museum Environment
14 | Exhibit cases are illuminated with lighting that does not generate UV or heat buildup (such as LED bulbs), or are externally illuminated. | [10 empty] | 4.J.3 Museum Environment
15 | Light sources that do not emit UV radiation have been installed in storage and on exhibit. | [10 empty] | 4.I.3 Museum Environment
16 | Framed 2-D artwork is UV filtered with museum-quality glass, acrylic, or equivalent material. | [10 empty] | 4.J.3 Museum Environment
17 | If historic glass on 2-D artwork does not filter UV, the artwork is displayed in an area that does not receive direct sunlight, or nearby exterior windows UV filtered to block UV rays. | [10 empty] | 4.J.3 Museum Environment
18 | Dataloggers or similar equipment are calibrated and regularly maintained. | [9 empty] | G4, G5 | 4.G.1 Museum Environment
19 | Datalogger records, outside temperatures, weather observations, and seasonal changes are analyzed to determine extremes, frequency and extent of fluctuations. | [9 empty] | D4 | 4.G.4 Museum Environment
20 | Visible spectrum of light is routinely monitored and recorded for illuminance level and duration. | [9 empty] | D5 | 4.J.1 Museum Environment
21 | Natural light (UV) levels have been recorded quarterly for one year to establish seasonal variations. | [9 empty] | D6 | 4.J.3 Museum Environment
22 | Air pollution is monitored and controlled. | [10 empty] | 4.L.2-3 Museum Environment
(Facility Manager)
23 | If RH and temperature exceed acceptable ranges, corrective actions are taken to return to acceptable ranges. | [10 empty] | 4.C.7 Museum Environment
24 | HVAC system is <15 years old, is inspected annually, and has scheduled preventative maintenance services (filter replacement, duct cleaning, duct/register/vent balancing). | [10 empty] | 10.E.14 Emergency Planning
25 | HVAC vents are free of obstruction. | [10 empty] | 9.E.1 Museum Fire Protection
26 | HVAC system drainage and condensation collection pans are unimpeded, checked routinely and are free from leaks. | [10 empty] | 4.H.1 Museum Environment
27 | Pipes (including sprinkler pipes), fan coils, faucets, storm drains, and plumbing are up-to-code and free of leaks. | [10 empty] | 10.E.14 Emergency Planning
28 | Particulates (dust) in museum storage and exhibit spaces are controlled. | [9 empty] | D16 | 4.L.3 Museum Environment
29 | Filters are regularly replaced. | [10 empty] | 4.L.3 Museum Environment
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Museum IPM_Housekeeping
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: MUSEUM IPM & HOUSEKEEPING | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | Museum Handbook I
(Curatorial Responses)
1 | A museum IPM plan has been developed and implemented to preserve the collection. (If no formal museum IPM Plan exists, duties are carried out in accordance with Museum Handbook, Part I.) | [10 empty] | 5.D.1 Biological Infestations
2 | Control of museum pests is implemented in coordination with the park's Integrated Pest Management Program. | [9 empty] | D10 | 5.B.1 Biological Infestations
3 | Insect sticky traps are installed, inspected and logged weekly, and replaced monthly. | [9 empty] | D9 | 5.E.3 Biological Infestations
4 | Rodent snap traps are inspected daily. | [9 empty] | D9 | 5.E.3 Biological Infestations
5 | Museum objects are inspected for evidence of insect, mold, and rodent infestations regularly (such as every three to six months). | [9 empty] | D9 | 5.E.3 Biological Infestations
6 | Incoming collections are inspected, isolated, and monitored for at least 30 days before entering collections storage or exhibit areas. | [10 empty] | 5.E.14 Biological Infestations
7 | Park has capacity to freeze infested objects in-house or through contract. | [10 empty] | 5.B.4 Biological Infestations
8 | Packing materials are kept separate from collection areas, and are immediately discarded if dirty or traces of pests are found. | [10 empty] | 5.E.14 Biological Infestations
9 | Drinking, eating, and displaying living plants, fresh flowers, and foodstuffs are prohibited from storage, research and work, preparation, and exhibit areas in writing. | [9 empty] | G3 | 5.A.3 Biological Infestations
10 | Staff food and drink are stored and consumed only in designated breakrooms. Food and drinks are not left open, and are stored in sealed containers in the breakroom. | [10 empty] | 5.F.2 Biological Infestations
11 | Museum Housekeeping Plan has been developed and implemented | [10 empty] | 13.A.2 Museum Housekeeping
12 | Museum Housekeeping Plan is reviewed annually and revised as needed. | [9 empty] | G6 | 13.A.2 Museum Housekeeping
13 | Housekeeping is performed according to the Plan's established schedule. | [9 empty] | G1 | 13.A.2 Museum Housekeeping
14 | Dusting and vacuuming museum objects is only performed by appropriately trained staff. | [9 empty] | A9 | 6.B.3 Handling, Packing & Shipping
15 | Exhibit cases are designed and fabricated for ease of access for cleaning and rotation of organic materials. | [9 empty] | C5 | MHIII.7.J.1 Using Museum Collections in Exhibits
(Facility Manager, Integrated Pest Management (IPM) Coordinator & Others)
16 | Windows, gaps, and holes in the building envelope are sealed, caulked, or otherwise blocked. | [10 empty] | 5.F.3 Biological Infestations
17 | Cracks and openings into the structure are repaired to prevent pest entry. | [10 empty] | 5.F.3 Biological Infestations
18 | Bird and rodent-proof chimney guards are installed over fireplace chimneys. | [10 empty] | 5.F.3 Biological Infestations
19 | Mesh screens are installed on air vents, hot air registers, and floor drains. | [10 empty] | 5.F.3 Biological Infestations
20 | Sodium vapor lighting is installed in outdoor fixtures to avoid attracting insects. | [10 empty] | 5.F.3 Biological Infestations
21 | Outdoor park lights are mounted 30 feet away from the building and face away from the building. | [10 empty] | 5.F.3 Biological Infestations
22 | An 18-30" wide vegetation-free zone is maintained around building perimeter. (For furnished historic structures, respond NA or describe in Comments column) | [10 empty] | 5.F.3 Biological Infestations
23 | Trash is disposed of in sealed containers and removed from the building daily. | [10 empty] | 5.F.3 Biological Infestations
24 | Dumpsters are kept at a distance from the building and loading dock. | [10 empty] | 5.F.3 Biological Infestations
25 | Receiving/unloading dock or area is located away from collections. | [10 empty] | 5.F.3 Biological Infestations
26 | Sources of harborage are eliminated from the building interior and immediately adjacent to the exterior. | [10 empty] | 5.F.3 Biological Infestations
27 | Sources of moisture and high humidity that encourage mold growth and attract pests are eliminated. | [10 empty] | 5.F.3 Biological Infestations
28 | Self-closing devices, sweeps, and gaskets are installed on all exterior and interior doors in areas housing collections. | [10 empty] | 5.F.3 Biological Infestations
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Handling_Packing (Museum-wide)
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: HANDLING & PACKING (Museum-wide) | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | Museum Handbook I | NPS Conserve O Gram
(Curatorial Responses)
1 | Museum staff are trained and practice safe object handling and lifting techniques. | [9 empty] | A9 | 6.B.5 Handling, Packing & Shipping
2 | Staff wear nitrile gloves when handling all museum objects. | [10 empty] | 6.B.7 Handling, Packing & Shipping | COG 1/12 Museum Collection Preservation
3 | Objects in storage are tagged with their catalog number to aid in identification and minimize handling. | [10 empty] | 6.B.5 Handling, Packing & Shipping
4 | Carts and other equipment are available and in good condition to safely move objects. | [10 empty] | 6.B.3 Handling, Packing & Shipping
5 | Objects are housed using appropriate methods, such as cavity packing, to minimize vibration and movement. | [10 empty] | 6.E.4 Handling, Packing & Shipping
6 | Handling and moving objects is planned in advance to minimize damage. | [10 empty] | 6.B.1 Handling, Packing & Shipping
7 | When moving objects, new storage location of appropriate size has been identified ahead of time. | [10 empty] | 6.C.2 Handling, Packing & Shipping
8 | Objects are moved through public spaces outside of visitation hours, or during periods of low visitation. | [10 empty] | 6.C.2 Handling, Packing & Shipping
9 | Only one object (such as a basket) is lifted or handled at a time, using both hands as appropriate. | [10 empty] | 6.C.2 Handling, Packing & Shipping
10 | Bagged small items such as archeological sherds are handled to prevent damage or dropping. | [10 empty] | 6.C.2 Handling, Packing & Shipping
11 | When using a ladder, objects are passed to staff on ground rather than carried up and down. | [10 empty] | 6.C.2 Handling, Packing & Shipping
12 | Heavy and/or large objects or containers are moved by two or more people. | [10 empty] | 6.C.4 Handling, Packing & Shipping
13 | ID cards and jewelry such as necklaces and rings that can catch on objects are removed when handling objects. | [10 empty] | 6.C.5 Handling, Packing & Shipping
14 | Sufficient and clean work space is available for housing and packing objects. | [10 empty] | 6.C.5 Handling, Packing & Shipping
15 | Only pencils are used when working with objects. | [10 empty] | 6.C.5 Handling, Packing & Shipping
16 | Objects are always accompanied when being moved. | [10 empty] | 6.C.5 Handling, Packing & Shipping
17 | Exhibit mounts are designed to fully support objects and are constructed of museum-quality materials. (If no mounts are used respond NA) | [9 empty] | C6 | 6.C.5 Handling, Packing & Shipping
18 | Damaged objects are housed to prevent further damage and scheduled for conservation treatment. | [10 empty] | 6.H.3 Handling, Packing & Shipping
19 | Object condition is evaluated to determine if safe to ship, and Object Condition Report completed for short-term outgoing loans. | [10 empty] | 6.C.4 Handling, Packing & Shipping
20 | Object is photographed before packing for shipping or transportation. | [10 empty] | 6.C.4 Handling, Packing & Shipping
21 | Park uses a reputable and experienced professional art shipper to ship art objects. | [10 empty] | 6.G.1 Handling, Packing & Shipping
22 | Appropriate route and shipping method is selected to minimize potential damage. | [10 empty] | 6.G.5 Handling, Packing & Shipping
23 | Shipping containers are sealed to prevent water and pest infiltration. | [10 empty] | 6.E.6 Handling, Packing & Shipping
24 | Museum staff follow federal packaging and shipping laws and regulations for hazardous materials such as cellulose nitrate. | [10 empty] | App M Management of Cellulose Nitrate & Cellulose Ester Film | COG 2/20 Security, Fire,and Curatorial Safety
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Museum Storage
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: MUSEUM STORAGE | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | Museum Handbook I
(Curatorial Responses)
1 | Storage facility, room, or space is dedicated solely to storage of museum objects, and is separated from offices, research, work and preparation areas. | [9 empty] | B1, B2 | 7.B.1 Museum Collection Storage, | 9.E.1 Museum Fire Protection
2 | Collections are stored in spaces other than outbuildings, closets, unimproved basements, attics, or temporary buildings such as trailers. | [10 empty] | 7.B.1 Museum Collection Storage
3 | Storage room is organized to allow for safe and easy access to storage furniture, proper use of equipment such as carts, and movement of staff. | [9 empty] | B11, B13 | 11.H.2 Curatorial Health & Safety | 7.B.1 Museum Collection Storage
4 | Space is large enough to accommodate the current museum collection and anticipated growth. | [9 empty] | B12 | 7.B.1 Museum Collection Storage
5 | Storage furniture such as cabinetry is sufficient to store museum objects safely without crowding or hindrance. | [9 empty] | B14 | 7.B.1 Museum Collection Storage
6 | Paths and aisles are kept clear and unobstructed. | [10 empty] | 9.E.19 Museum Fire Protection
7 | Museum storage cabinets and shelving units are raised 4" to 6" off the floor as a precaution against flooding. | [9 empty] | B20 | 7.C.1 Museum Collection Storage
8 | Museum storage cabinets (including mobile compact carriages) are of sealed, powder-coated steel construction. | [10 empty] | 7.C.2 Museum Collection Storage
9 | Museum storage cabinets are in good condition (e.g., rust free, well-sealed, free of leaks, smoothly operating doors). | [9 empty] | B15 | 4.H.3 Museum Environment
10 | Object storage shelving is metal. (If there is no open shelving, respond NA) | [10 empty] | 7.C.2 Museum Collection Storage
11 | Objects stored on open shelving are protected from leaks and water damage. (If there is no open shelving, respond NA) | [10 empty] | 7.C.1 Museum Collection Storage
12 | Museum storage cabinets are not stacked more than two high. | [9 empty] | B17 | 7.C.1 Museum Collection Storage
13 | Objects are stored for easy and safe access without disturbing or damaging adjacent objects. | [10 empty] | 9.C.2 Museum Fire Protection
14 | Open shelving is free of burrs, splinters, exposed nails, screws, and bolts that can damage museum objects. | [9 empty] | B18 | 7.C.1 Museum Collection Storage
15 | Heavy and oversize museum objects are housed off the floor or on bottom shelves. | [10 empty] | 7.H.1 Museum Collection Storage
16 | Storage cabinet drawers and shelves are loaded within manufacturer's recommended weight capacity. | [9 empty] | B16 | 7.C.1 Museum Collection Storage
17 | Objects and archival items are housed using museum-quality materials, including containers, folders, herbarium sheets, and/or boxes. | [10 empty] | 6.E.4 Handling, Packing & Shipping
18 | Museum objects that are stacked (such as plates) are protected by cushioning materials. | [9 empty] | B19 | 7.C.1 Museum Collection Storage
19 | Objects in museum storage cabinets and on shelving are cushioned with museum-quality materials. (If natural history specimens are to be used for analysis of organic chemicals, do not use any kind of plastic in storage containers.) | [9 empty] | B24 | 7.I.2 Museum Collection Storage
20 | Objects in cabinet drawers are placed in trays or containers, padded, or otherwise prevented from shifting when drawers are opened. | [9 empty] | B25 | 7.I.2 Museum Collection Storage
21 | Fragile and/or small objects such as ceramics are housed using cradle or ring mounts, cavity packing, and/or in bags such as for archeological sherds. | [10 empty] | 10.E.5 Emergency Planning
22 | Framed artwork on storage screens is attached with steel “S” hooks. | [10 empty] | 7 Fig 7.2b Museum Collection Storage
23 | Photographic negatives and film are stored in cold storage. | [10 empty] | 4.E.4 Museum Environment
24 | Supplies and equipment, including paper supplies and audiovisual equipment, are stored outside the museum storage space. | [10 empty] | 7.B.2 Museum Collection Storage
(Facility Manager)
25 | Freestanding museum storage cabinets are attached to the wall and have steel cross-braces. | [10 empty] | 7.C.1 Museum Collection Storage
26 | Heavy, oversized, and/or tall storage furniture, including mobile storage systems and open shelving, are braced or bolted and secured to load-bearing walls and/or floor to prevent tipping. | [9 empty] | B21 | 7.C.1 Museum Collection Storage
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Museum Emergency Planning
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: MUSEUM EMERGENCY PLANNING | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | Museum Handbook I
(Curatorial Responses)
1 | Museum Collections Emergency Operations Plan (MCEOP), including Emergency Response Steps for different emergency incidents, has been developed, is up to date, has been incorporated into park Emergency Operations Plan, and includes this facility. | [9 empty] | E8 | 10.B.2 Emergency Planning
2 | Collections are housed away from floors susceptible to flooding (i.e. above the basement and below the attic). | [9 empty] | B5 | 10.E.1 Emergency Planning
3 | Collections are housed away from sources of running water such as restrooms and water, waste, steam, fuel, or other liquid pipes. | [9 empty] | B5 | 10.E.14 Emergency Planning
4 | Storage and exhibit areas are free of drains to prevent backups and minimize moisture that can lead to mold and pest issues. | [9 empty] | B5 | 10.E.14 Emergency Planning
5 | Restraining bars, cords, or similar devices are installed on edges of shelves to prevent objects from sliding off shelving. | [9 empty] | B23 | 10.E.5 Emergency Planning
6 | Floor and wall materials and coverings are of materials such as tile that will minimize flood water retention (e.g. free of carpeting or wallpaper). (For furnished historic structures respond NA and describe in Comments column) | [10 empty] | 10.E.14 Emergency Planning
7 | Electronic museum records and digital images are backed up and stored in multiple locations, at least one of which is off-site. | [10 empty] | 10.D.8 Emergency Planning
8 | Museum staff are trained to secure and/or relocate collections to a designated secure and stable location for emergency incidents with advanced notice (hurricane, wildland fire, etc). | [10 empty] | 10.G.2, 10.H.1 Emergency Planning
9 | Staff are trained biannually and drilled in evacuation procedures for all emergency types. | [10 empty] | 10.J.1 Emergency Planning
10 | Museum staff is trained in basic salvage techniques. | [10 empty] | 10.I.4 Emergency Planning
11 | Museum staff knows how to secure the building in the event of an emergency incident. | [10 empty] | 10.F.1 Emergency Planning
12 | Designated staff knows how to use (turn on and off) utilities such as water shut-offs to stop leaks, or can contact appropriate individual in a timely fashion. | [10 empty] | 10.F.1 Emergency Planning
(Facility Manager, Emergency Operations Coordinator & Others)
13 | Space is free of water, waste, and fuel pipes other than those needed for fire suppression. | [9 empty] | B9 | 7.B.8 Museum Collection Storage
14 | Structure has been built or modified to withstand earthquake damage. (For furnished historic structure, describe in Comments column.) | [10 empty] | 10.E.5 Emergency Planning
15 | Building’s floor loading capacity is known, and equipment and contents are within floor loading capacity. | [10 empty] | 10.E.3 Emergency Planning
16 | Building has a back-up power source such as generator, batteries or a solar panel for utilities and systems (such as fire and security) in case of power outage. | [10 empty] | 10.E.10 Emergency Planning
17 | Building has adequate (1 per staff member) and functioning emergency flashlights and communications tools such as walkie-talkies. | [10 empty] | 10.F.7 Emergency Planning
18 | Museum staff have access to weather band radios or other weather alert equipment when cellular coverage is not available. | [10 empty] | 10.E.11 Emergency Planning
19 | Building is free of construction or renovation, including HVAC, roof, and plumbing or wiring work. | [10 empty] | 10.E.4 Emergency Planning
20 | Drains (including storm drains), pipes, and sewer lines are unimpeded and checked at least annually. | [10 empty] | 10.E.14 Emergency Planning
21 | Storm drains are fitted with screens to prevent small items from washing down the drain. | [10 empty] | 10.E.11 Emergency Planning
22 | Building pipes and other conduits are enclosed and/or insulated to prevent freezing in winter. | [10 empty] | 10.E.11 Emergency Planning
23 | All drains, conduits, and pipes are clearly marked on building plans so they can be found quickly in case of leaks. | [10 empty] | 10.E.14 Emergency Planning
24 | Building has good drainage near the footings or has been landscaped to move water away from the building. | [10 empty] | 10.E.14 Emergency Planning
25 | Trees and shrubs within 15 feet of the building are marked on landscaping plans so that tree roots acting as water courses can be found. | [10 empty] | 10.E.14 Emergency Planning
26 | Check valves are installed in building sewer traps to prevent floodwaters from backing up. | [10 empty] | 10.E.14 Emergency Planning
27 | Building utilities (such as electrical, HVAC, lighting) each have their own conduits and poles, rather than sharing. | [10 empty] | 10.E.10 Emergency Planning
28 | The building is away from (not in direct contact with) power lines, electrical cabling, or other major lightening attractant. | [10 empty] | 10.E.11 Emergency Planning
29 | Lightning rods or other lightning protection are installed on structures housing collections. | [10 empty] | 10.E.11 Emergency Planning
30 | If there is construction work on the roof, the contract includes provision to protect space from water damage 24/7. | [10 empty] | 10.E.14 Emergency Planning
31 | Building elements such as roof and foundation and utilities such as HVAC are secured to structure to prevent separation during severe weather. | [10 empty] | 7.B.6 Museum Collection Storage
32 | Exterior windows have storm shutters or are hurricane-rated as appropriate. (For historic structures describe in Comments column) | [10 empty] | 10.E.11 Emergency Planning
33 | Windows are made of tempered glass. (For historic structures respond NA as appropriate) | [10 empty] | 10.E.3 Emergency Planning
34 | Building has a designated emergency storm shelter area, such as a basement or windowless interior hallway on the ground floor. | [10 empty] | 10.G.3 Emergency Planning
35 | Emergency access key box such as KnoxBox is installed to allow emergency responder access to spaces housing collections. | [10 empty] | 10.D.4 Emergency Planning
36 | Interior of space has functioning emergency lighting. | [10 empty] | 10.E.10 Emergency Planning
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Museum Fire Protection
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: MUSEUM FIRE PROTECTION | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | Museum Handbook I
(Curatorial Responses)
1 | Automatic fire detection and alarm systems are installed and function as intended. | [9 empty] | F8 | 9.B.1 Museum Fire Protection
2 | Automatic fire sprinkler and/or suppression systems are installed and function as intended. | [9 empty] | F8 | 9.B.1 Museum Fire Protection
3 | Fire protection needs of collections in this structure are addressed in the Museum Fire Section of park Structural Fire Management Plan. | [9 empty] | F5 | 9.E.2 Museum Fire Protection
4 | Storage cabinets and exhibit cases are at least 18 inches from fire suppression system discharge heads. | [9 empty] | F3 | 9.I.1 Museum Fire Protection
5 | Mobile storage carriages have opening of at least 4 inches to allow for penetration by sprinkler or suppression systems. | [9 empty] | F4 | 9.E.19 Museum Fire Protection
6 | Smoking is prohibited in writing within the building and within 25 feet of structures storing and exhibiting collections and museum work areas. | [9 empty] | A4 | 9.E.3 Museum Fire Protection
7 | Accession book is kept in a locking, insulated fire-resistive filing cabinet, safe, or vault with a UL rating of 350°F 1-hour. | [9 empty] | F11 | 9.E.9 Museum Fire Protection
8 | Container such as media safe or box with a UL rating of 125°F 1-hour is used to store backup copies of ICMS data, digital images, and other electronic media. | [9 empty] | F13 | 9.E.9 Museum Fire Protection
9 | Flammable and hazardous liquids and supplies are stored in appropriate cabinets in accordance with nationally-recognized fire codes and labeled accordingly, and are housed separately from collections storage rooms. | [9 empty] | B3 | 9.E.6 Museum Fire Protection
10 | Wet specimens are housed separately in well-sealed jars, with appropriate ventilation in accordance with nationally-recognized fire codes. | [9 empty] | F10 | 9.E.7 Museum Fire Protection
11 | Building is free of unstable or actively degrading cellulose nitrate negatives or motion picture film. | [10 empty] | 9.E.8 Museum Fire Protection
12 | Stable cellulose nitrate film and negatives are labeled and stored in cold storage away from other collections or off-site in accordance with NPS and NFPA fire safety guidelines. | [9 empty] | B29 | App M Management of Cellulose Nitrate & Cellulose Ester Film
13 | Fuel, gas, or oil is totally drained from historic vehicles, appliances, and machinery in the collection, and tanks are vapor free. | [10 empty] | 10.E.7 Emergency Planning
14 | Appliances such as coffee makers or microwaves, including cords, are UL rated checked annually, are unplugged each evening or have automatic shutoffs, and are kept in good working order. | [10 empty] | 9.E.7 Museum Fire Protection
15 | Appliance and computer vents are kept clear of obstructions to prevent heat buildup. | [10 empty] | 9.E.14 Museum Fire Protection
16 | Exits and routes, aisles, and walkways are kept clear and unobstructed. Doors and windows are kept closed (e.g. not propped open) when not in use to prevent spread of fire and smoke. | [10 empty] | 9.E.19 Museum Fire Protection
17 | Local fire department has been toured through the facility and familiarized with special needs of collections during a fire, with follow-up tours as needed. | [9 empty] | F5 | 9.B.1 Museum Fire Protection
18 | Museum fire protection survey has been completed. | [9 empty] | H3 | 9.C.2 Museum Fire Protection
(Facility Manager, Park Structural Fire Coordinator, Chief of Interpretation & Others)
19 | Automatic fire protection systems were designed and installed to provide full coverage by a structural fire protection professional with concurrence from Regional Structural Fire Manager or Fire Code Official. | [10 empty] | 9.B.1, 9.F.9 Museum Fire Protection
20 | Automatic fire detection and alarm systems are fully operational 24/7/365, and are inspected and maintained on a regular schedule. | [9 empty] | B27 | 9.E.7 Museum Fire Protection
21 | Automatic fire suppression systems are fully operational 24/7/365, and are inspected and maintained on a regular schedule. | [9 empty] | B27 | 9.E.7 Museum Fire Protection
22 | Overhead water pipes for fire suppression are installed in aisles rather than over the top of freestanding storage cabinets to protect from potential water damage. | [9 empty] | B9 | 9.F.9 Museum Fire Protection
23 | Space is separated (compartmented) by appropriate fire-rated doors, walls, and other assemblies and structural elements. (For furnished historic structure, respond NA and describe in risk factor #22 immediately below) | [9 empty] | F7 | 9.B.1 Museum Fire Protection
24 | Furnished historic structures housing collections are separated by function to the extent possible. (For non-historic structures respond NA) | [9 empty] | F7, F9 | 9.B.1 Museum Fire Protection
25 | Fire/smoke dampers are installed in HVAC ducts, fire barriers, and fire doors to limit fire spread and smoke infiltration. | [10 empty] | 9.E.21 Museum Fire Protection
26 | Emergency exit doors have a fire rating consistent with surrounding walls. | [10 empty] | 9.E.21 Museum Fire Protection
27 | Portable fire extinguishers are selected and installed according to potential fire sources, object materials, and size of protected area. | [10 empty] | 9.B.1 Museum Fire Protection
28 | Fire extinguishers are inspected annually to ensure that they are operational. | [9 empty] | F1 | 9.F.11 Museum Fire Protection
29 | Staff are trained annually in the use of fire extinguishers. | [9 empty] | F2 | 9.F.15 Museum Fire Protection
30 | Building and structural components (walls, floors, ceilings, doors and windows) are made fire-resistant to the extent possible. (For furnished historic structure, describe in the Comments column) | [9 empty] | F6 | 9.E.17 Museum Fire Protection
31 | A Life Safety and Fire Protection Risk Assessment for structures housing collections has been conducted. | [10 empty] | 9.B.1 Museum Fire Protection
32 | Hot Work Permit (HW-1) is approved for hot work. Collections are protected or moved to a secure location during hot work. | [10 empty] | 9.B.1 Museum Fire Protection
33 | Fire department can respond to a fire within 9-14 minutes in accordance with RM-58: Structural Fire Managment. (If response time is greater than 14 minutes, describe in the Comments column) | [10 empty] | 9.D.4 Museum Fire Protection
34 | Accessible fire hydrant with usable water pressure is located within 300 yards of the building, or there is an alternative water source approved by the FCO in accordance with RM-58: Structural Fire Managment. | [10 empty] | 9.F.2 Museum Fire Protection
35 | Structure is free of open flames, including lit matches, candles, lanterns, active fireplaces, ovens, space and kerosene heaters, and wood-burning stoves. | [10 empty] | 9.E.4 Museum Fire Protection
36 | Demonstrations such as cooking or blacksmithing using wood stoves, oil lamps, or forges are performed at least 300 feet from the structure. | [10 empty] | 9.E.4 Museum Fire Protection
37 | Flame-retardant (impregnated or treated) fabrics and other materials are used in curtains, draperies, banners, bunting, articial plants, and floor treatments such carpets. | [10 empty] | 9.E.11 Museum Fire Protection
38 | Room is free of hot plates, stovetops or ovens for cooking, and fuel fired (kerosene) open-coil portable heaters. Only UL listed personal heaters (e.g. without open coils) with a tip-over switch are used in designated areas. | [10 empty] | 9.E.14 Museum Fire Protection
39 | Garages and fuel, propane, or other flammable liquid storage are located at least one block from the building in accordance with RM-58: Structural Fire Management. | [10 empty] | 9.E.6 Museum Fire Protection
40 | Brush, trash, and other combustibles are kept away from structures housing collections. | [10 empty] | 9.F.19 Museum Fire Protection
41 | Building electrical system and wiring is installed, inspected, and maintained by a professional electrician in accordance with NFPA 70: National Electric Code and other local and national electrical codes. | [10 empty] | 9.E.14 Museum Fire Protection
42 | Concrete flooring is free of air passages between floors to limit fire spread and smoke infiltration. | [10 empty] | 7.B.9 Museum Collection Storage
43 | Older (>15 years) fluorescent light bulb ballasts have been replaced with thermally-protected Class P ballasts. | [10 empty] | 9.E.18 Museum Fire Protection
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Health_Safety (Museum-wide)
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: HEALTH & SAFETY (Museum-wide) | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | Museum Handbook I
(Curatorial Responses)
1 | Spaces and/or cabinets housing specimens stored in fluids, objects treated with pesticides, radioactive minerals and fossils, or nitrate film are identified by appropriate health and safety signs. | [9 empty] | B30 | 11.D.8 Curatorial Health & Safety
2 | Hazardous supplies such as chemicals used in collections management are safely stored and labeled in accordance with 29 CFR 1910.1200(f)(6): Workplace labeling, and with appropriate Hazard Communication Standard placards. | [10 empty] | 11.C.10 Curatorial Health & Safety
3 | Museum staff are trained in how to recognize hazardous objects and materials such as asbestos, arsenic, lead, old medicines, drugs, and chemicals, radioactive objects; corrosion, bulging, odors, and residues; mold, presence of insects and rodents, and pesticides. | [10 empty] | 11.D.10 Curatorial Health & Safety
4 | Objects that have been treated with pesticides or otherwise contaminated are housed and labeled appropriately. | [10 empty] | 11.D.3 Curatorial Health & Safety
5 | Hazardous materials in collections, such as medicines and needles in medical bags or kerosene in lamps, are removed or mitigated to the extent possible. (Describe in the Comments column) | [10 empty] | 11.D Curatorial Health & Safety
6 | Collections are free of asbestos contamination. | [10 empty] | 11.E.1 Curatorial Health & Safety
7 | Museum program maintains complete first aid kit(s) appropriate to staff size in accordance with OSHA 1910.266 App A: First-aid Kits. | [10 empty] | 11.D.8 Curatorial Health & Safety
8 | Designated museum staff have CPR and basic first aid training. | [10 empty] | 11.D.6 Curatorial Health & Safety
9 | Hazardous substances and chemicals used in the museum are listed and inventoried annually with accompanying Safety Data Sheets (SDS). | [10 empty] | 11.D.5 Curatorial Health & Safety
10 | Building has emergency eyewash and shower stations when corrosive or caustic materials are used in a preparation room or laboratory. | [10 empty] | 11.C.5 Curatorial Health & Safety
11 | All museum firearms have been evaluated and unloaded and cleared by an experienced specialist. | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
12 | Exhibits are confirmed free of loaded firearms. | [10 empty] | App G.C.II.3 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
13 | Firearms are stored in a locking museum-quality cabinet, and loaded firearms are not comingled with unloaded firearms. | [10 empty] | App G.C.II.2 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
14 | All museum small arms ammunition has been evaluated and appropriate action determined by an experienced specialist. | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
15 | Small arms ammunition is housed separately from firearms. (If there is no small arms ammunition in collection respond NA) | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
16 | Live small arms ammunition that is to be retained in the collection is safely stored in a fire-resistant magazine and/or anti-static box within a locking cabinet in secure collections storage. | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
17 | Exhibits are confirmed free of live small arms ammunition. | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
18 | a. All museum military munitions and artillery have been evaluated by a DOD Explosive Ordnance Disposal unit or accredited Public Safety Bomb Squad. | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
| b. If safe to do so, live military munitions have been rendered inert by an US Marine Corps Explosive Ordnance Disposal unit. | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
| c. All museum artillery has been unloaded by a Department of Defense Explosive Ordnance Disposal unit or accredited Public Safety Bomb Squad. | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
| d. All museum non-combat explosives have been evaluated and, if safe to do so, rendered inert by a Certified Blaster or accredited Public Safety Bomb Squad. | [10 empty] | App G.B.1 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
19 | Exhibits are confirmed free of live munitions, live non-combat explosives, and loaded artillery. | [10 empty] | App G.E.II.3 Museum Firearms, Small Arms Ammunition, Munitions, and Artillery
(Facility Manager, Safety Officer & Others)
20 | Building, including attics, basements, HVAC vents, and drains, is free from active mold. | [10 empty] | 5.G.10 Biological Infestations
21 | Building is free of mice, rats and other rodents, including droppings. | [10 empty] | 11.E.8 Curatorial Health & Safety
22 | Building is free of damaged or flaking asbestos insulation (such as wiring insulation), floor tiles, wallboard, or ceiling tiles and lead paint. | [10 empty] | 11.A.4 Curatorial Health & Safety
23 | Building is free of sources of radiation such as radon. | [10 empty] | 11.G.2 Curatorial Health & Safety
24 | Building is free of significant health and safety risks from hazardous chemicals. | [10 empty] | 11.D.1 Curatorial Health & Safety
25 | Designated park staff is trained in hazardous material handling. | [10 empty] | 11.C.11 Curatorial Health & Safety
26 | Park uses a trained hazardous waste coordinator as needed. | [10 empty] | 11.C.11 Curatorial Health & Safety
27 | Designated staff have fitted with appropriate PPE, including rated-breathing apparatus. | [10 empty] | 11.C.7 Curatorial Health & Safety
28 | Air handling and air exchange systems meet OSHA and ASHRAE health and safety standards. | [10 empty] | 11.C.4 Curatorial Health & Safety
29 | Disinfection procedures and social practices during a health emergency are implemented in accordance with federal, state, and local laws and regulations. | [10 empty] | 11.C.5 Curatorial Health & Safety
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Museum Security
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: MUSEUM SECURITY | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | NPS Museum Handbook (MH I.14: Museum Security revision under development)
(Curatorial Responses)
1 | Structure and rooms housing museum collections have physical security hardware such as high security mechanical locks on doors. | [10 empty] | 14.F.5 Museum Security | 14.B.1 (Draft 2022) Museum Security
2 | Intrusion detection systems are installed, fully operational, tested, and monitored 24/7/365. | [9 empty] | E12 | 14.G.4 Museum Security | 14.B.1 (Draft 2022) Museum Security
3 | Video Surveillance Systems (VSS) are installed (including in exhibition and storage areas and access points), are fully operational and are monitored 24/7/365. | [9 empty] | E12 | 14.G.9 Museum Security | 14.B.1 (Draft 2022) Museum Security
4 | Curator maintains collections in a secure, dedicated storage facility with limited access at all times. | [10 empty] | 7.B.1 Museum Collection Storage | 14.E.5 (Draft 2022) Museum Security
5 | Collections storage cabinets have working locking mechanisms. (If object size or type does not require storage equipment, respond NA and describe in Comments column) | [9 empty] | B15 | 14.E.7 Museum Security | 14.F.1 (Draft 2022) Museum Security
6 | Approved written access policy and procedures for museum and non-museum park staff, researchers, and all other visitors are implemented. | [10 empty] | App G (former).B.2 Protection of NPS Museum Collections | 14.B.1 (Draft 2022) Museum Security
7 | All park non-museum staff and others who enter storage areas are accompanied and/or monitored at all times by park museum staff. | [9 empty] | E4 | App G (former) Fig G.5 Protection of NPS Museum Collections | 14.D.3 (Draft 2022) Museum Security
8 | NPS Visitor and Staff Log and Conditions for Access to Museum Collections is implemented. | [9 empty] | E3 | App G (former) Fig G.5 Protection of NPS Museum Collections
9 | Approved written opening and closing procedures for the structure and/or rooms are implemented. | [9 empty] | A2, E6 | 14.E.12 Museum Security
10 | An approved written museum key control policy for structures, spaces, storage cabinets, and exhibit cases housing collections has been implemented and integrated into the park key control plan. | [10 empty] | 14.E.5 Museum Security | 14.B.1 (Draft 2022) Museum Security
11 | Keys to museum storage, work and research spaces are issued only to the curator and museum staff with direct responsibility for the collections. | [9 empty] | E1 | 14.E.5 Museum Security | 14.B.1 (Draft 2022) Museum Security
12 | Storage cabinet and exhibit case keys are controlled by the curator and secured in a locking museum key box installed in a secure, monitored location with limited access. | [10 empty] | 14.E.5 Museum Security | 14.B.1 (Draft 2022) Museum Security
13 | Signed receipt (DI-105 or equivalent form) is used to control and document issuance of keys for museum storage and exhibit spaces. | [9 empty] | E2 | 14.E.5 Museum Security | 14.B.1 (Draft 2022) Museum Security
14 | Museum Security Plan has been incorporated into the park's overall Physical Security Plan. | [10 empty] | 14.C.7 Museum Security | 14.B.1 (Draft 2022) Museum Security
15 | All objects in the collection have been accessioned. | [10 empty] | MHII.2 Accessioning
16 | All objects in the collection have been cataloged. | [10 empty] | MHII.2 Accessioning | 14.E.3 (Draft 2022) Museum Security
17 | Inventory is conducted annually and reconciled in accordance with the NPS Museum Handbook. | [10 empty] | MHII.4 Inventory & Other Special Instructions | 14.E.4 (Draft 2022) Museum Security
18 | Framed two-dimensional artwork on exhibit is securely mounted using security hardware such as S-hooks, double-end bolt snaps, or art hook alarms. (For historic mounts describe in Comments column) | [9 empty] | A12 | 10.E.1 Emergency Planning
19 | Temporary object removal slip (Form 10-97) is used when objects are removed from exhibit or storage. | [10 empty] | MHII.2 Accessioning | 14.E.6 (Draft 2022) Museum Security
20 | Exhibit plans are reviewed by museum staff and park or regional security staff to ensure that museum objects are appropriately secured. | [9 empty] | C1 | MHIII I.6 Using Museum Collections in Exhibits | 14.H.11 (Draft 2022) Museum Security
21 | Objects are exhibted in locked cases with alarms, secure mounts, and security screws that are fully functional and checked regularly. (If there are no exhibit cases, respond NA) | [9 empty] | C4 | 10.E.12 Emergency Planning
22 | Objects on open display are positioned out of visitors' reach. | [10 empty] | 10.E.12 Emergency Planning
23 | Objects on open display are secured with special mounts and monitored with motion detectors, video surveillance and/or pressure mats. | [10 empty] | 10.E.12 Emergency Planning
24 | Objects on open display are protected by physical barriers such as hardened acrylic panes. (If there are no objects on open display, respond NA) | [9 empty] | C7, E7 | 14.C.3 Museum Security | 14.F.1 (Draft 2022) Museum Security
25 | Exhibit case vitrines are designed and fabricated to provide security, such as using security glass. | [10 empty] | 14.C.2 Museum Security | 14.H.12 (Draft 2022) Museum Security
26 | Objects are protected and secured, or relocated to a secure area during construction. | [10 empty] | 9.B.1 Museum Fire Protection | 14.H.15 (Draft 2022) Museum Security
27 | Access to museum records and databases, including computers and server rooms, is controlled. | [10 empty] | 14.J.1 Museum Security | 14.I.4 (Draft 2022) Museum Security
28 | PIV cards are safeguarded and kept in the possession of issued staff at all times. | [10 empty] | MHII.1.D.7 Documenting Museum Collections | 14.I.4 (Draft 2022) Museum Security
(Facility Manager, Physical Security Coordinator, Chief of Interpretation & Others)
29 | Furnished historic structures are secured with locking exterior doors, secure windows, and controlled and/or monitored access. | [10 empty] | 14.F.5 Museum Security | 14.E.5 (Draft 2022) Museum Security
30 | Structure or space has as few doors as possible to enhance security, but sufficient to meet fire safety requirements. | [9 empty] | B8 | 14.F.3 Museum Security
31 | Space is free of water, gas, or electric meters, panels, and valves that require monitoring and servicing by non-curatorial staff. | [9 empty] | B10 | 14.C.1 Museum Security | 14.H.1 (Draft 2022) Museum Security
32 | Intrusion detection and alarm systems are regularly inspected, tested and maintained. (If there are no intrusion detection systems, respond NA) | [9 empty] | E9 | 14.G.5 Museum Security | 14.H.15 (Draft 2022) Museum Security
33 | Intrusion detection alarm system keypads are installed on the interior of structures and rooms to prevent tampering. | [10 empty] | 14.G.4 Museum Security | 14.G.2 (Draft 2022) Museum Security
34 | Doors are metal or solid-core wood with deadbolt and handset locks equipped with interchangeable high security lock cores. (For furnished historic structures respond NA and describe in Comments column) | [9 empty] | E11 | 14.F.7 Museum Security | 14.F.7 (Draft 2022) Museum Security
35 | Exterior windows are made of security glass and have and have strong secure locking hardware. (For furnished historic structures respond NA) | [10 empty] | 14.G.6 Museum Security | 14.H.3 (Draft 2022) Museum Security
36 | Designated staff is present in exhibit spaces, including visitor centers and furnished historic structures, during public hours. | [9 empty] | C7 | 14.F.11 Museum Security | 14.E.10 (Draft 2022) Museum Security
37 | Tours of furnished historic structures are not larger than 8-15 visitors per staff member. | [10 empty] | 14.G.5 Museum Security | 14.E.11 (Draft 2022) Museum Security
38 | Tours of furnished historic structures are accompanied at all times, including a leader and follow-up staff. (If tours are not accompanied, describe in Comments column. Respond NA for non-historic structures) | [10 empty] | 14.G.5 Museum Security | 14.E.11 (Draft 2022) Museum Security
39 | Staff who interact with the public are equipped with duress alarms (fixed or person-worn). | [10 empty] | 14.G.4 Museum Security | 14.G.3 (Draft 2022) Museum Security
40 | Regular patrols are conducted during non-public hours. | [10 empty] | 14.F.8 Museum Security | 14.C.8 (Draft 2022) Museum Security
41 | Building has a well-lit exterior for nighttime security, implemented in accordance with NPS Night Skies best practices. | [10 empty] | 14.F.10 Museum Security | 14.F.7 (Draft 2022) Museum Security
42 | Security lighting is installed inside the space storing or exhibiting collections. | [10 empty] | 14.F.10 Museum Security | 14.F.7 (Draft 2022) Museum Security
43 | Building exteriors are illuminated using equipment such as time switches and/or motion-activated lighting. | [10 empty] | 14.F.10 Museum Security | 14.F.7 (Draft 2022) Museum Security
44 | Park has been vandalism, arson, bomb threat, significant employee or community relations problem, and political demonstration-free for the last decade. | [10 empty] | 10.E.12 Emergency Planning
45 | Roof and other access points are secured from intrusion and alarmed. | [10 empty] | 14.F.3 Museum Security | 14.H.2 (Draft 2022) Museum Security
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Museum Structure
NATIONAL PARK SERVICE MUSEUM RISK ASSESSMENT WORKSHEET
# | Risk Factors: MUSEUM STRUCTURE | Response | Mitigation | [6 empty] | Comments | Source (Handbook/NPS Checklist)
| Facility Name: | (Yes/No/ NA/ Unknown) | Corrective Action Needed | Corrective Action Priority | Corrective Action Schedule | Responsible Individual | PMIS (Needed, Not Needed or PMIS #) | Work Order (Needed, Not Needed, or Work Order #) | Estimated Cost |  | NPS Checklist | Museum Handbook I
(Facility Manager & Others)
1 | Structure has been inspected and found adequate by a structural engineer within the last 10 years. | [10 empty] | 10.E.5 Emergency Planning
2 | When the building is under renovation or repair, contract or work order includes provisions for collections security and fire protection. | [10 empty] | 10.E.4 Emergency Planning
3 | Structure is sound and free from cracks and/or weakened support beams or other substantial structural damage. | [10 empty] | 5.E.10 Biological Infestations, | 10.E.5 Emergency Planning
4 | Structure is free from sagging floors or ceilings. | [10 empty] | 10.E.5 Emergency Planning
5 | Storage space is free of dropped ceilings. | [10 empty] | 7.B.9 Museum Collection Storage
6 | Stairways and other passageways within the building are enclosed and/or insulated. | [10 empty] | 9.E.19 Museum Fire Protection
7 | Structure has sound vapor barrier or damp course (barrier against rising moisture). (For furnished historic structures respond NA or describe in Comments column) | [10 empty] | 4.G.4 Museum Environment
8 | Structure basement is free of leaks and is above the water table level. | [10 empty] | 10.E.14 Emergency Planning
9 | Water leak detectors are installed throughout the building to detect flooding. | [10 empty] | 10.E.14 Emergency Planning
10 | Structure has equipment or system to remove water, such as a sump pump. | [10 empty] | 10.E.14 Emergency Planning
11 | Structure roof is in good repair and free of leaks, routinely maintained, and functions as intended. | [10 empty] | 10.E.14 Emergency Planning
12 | Structure gutters are well attached, cleaned bi-annually, routinely maintained, and function as intended. | [10 empty] | 10.E.14 Emergency Planning
13 | Structure downspouts are well-placed, clear, unobstructed, and direct water away from the building. | [10 empty] | 10.E.14 Emergency Planning
14 | Structure has a well-maintained elevator or lift with alarm, working 24-hour-a-day phone, and escape hatch. (Respond NA if structure does not have an elevator or lift) | [10 empty] | 10.E.10 Emergency Planning
Risk Factor Responses
| Total Yes | 0
| Total No | 0
| Total NA | 0
| Total Unknown | 0
Corrective Action Priorities
| Total Critical |  |  | 0
| Total High |  |  | 0
| Total Medium |  |  | 0
| Total Low |  |  | 0
Corrective Action Schedule
| Total Immediate |  |  |  | 0
| Total Intermediate |  |  |  | 0
| Total Long-Term |  |  |  | 0
| Total PMIS Statements Needed | [5 empty] | 0
| Total Work Orders Needed | [6 empty] | 0
| Total Estimated Cost | [7 empty] | 0
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2

## Changelog
Changelog
Version 1.0 | Initial release
Version 1.1 | Updates "Health_Safety" tab to reflect new Museum Handbook Part I, Appendix G: Museum Firearms, Small Arms Ammunition, Munitions, and Artillery (2023)
"Estimated Cost" tabulation added (in $) on each tab, and on Cover Sheet
Minor edits, including additional instructions
Museum Risk Assessment Worksheet Version 1.1 issued by NPS Museum Management Program, January 2023
NPS Museum Handbook Part I, Museum Risk Assessment Worksheet (Ver 1.1) Figure 10.2